SPEC NOTE: This Guide Specification includes materials and methods for the application of Aqua-Bloc® 720-38, a cold applied elastomeric asphalt emulsion waterproofing membrane system. Typical applications include below grade tunnels, foundations, plaza decks, planters and parking structures as required to prevent the penetration of water under hydrostatic pressure. This specification should be adapted to suit the requirements of individual projects.  It is prepared in CSC-NMS three part format and should be included as a separate section under Division 7-Thermal and Moisture Protection.

## Part 1: GENERAL

1.1		General Requirements

.1	The General Conditions, the Supplementary Conditions, the Instructions to Bidders and Division One General Requirements shall be read in conjunction with and govern this section.

.2	The Specification shall be read as a whole by all parties concerned.  Sectioning of the Specification is for convenience.  Each Section may contain more or less than the complete work of any trade.  The Contractor is solely responsible to make clear to the Subcontractors the extent of their work.

1.2		Description

.1	Supply labour, materials, plant, tools and equipment to complete the Work as shown on the Drawings and as specified herein including, but not limited to the following:

.1	Foundation Walls (by others),

.2	Elastomeric Asphalt Emulsion Waterproofing Membrane,

.3	Drain Board/Protection Board,

.4	Native Backfill.

1.3	Related Work

.1		Division 2 Site Work

.2		Division 3 Concrete

.3		Division 4 Masonry

.4		Division 5 Structural Steel

.5		Division 6 Rough Carpentry

.6		Division 7 Sealants & Flashings

.7		Division 15 Mechanical

1.4	References

.1	CAN/CGSB-37.2: Membrane, Elastomeric, Cold Applied Liquid.

.2		CAN/CGSB-37.9M: Primer, Asphalt, Unfilled for Asphalt Roofing, Dampproofing and Waterproofing.

.3		CGSB-37-GP-56M: Membrane, Bituminous, Prefabricated and Reinforced for Roofing.

1.5	Submittals

.1	Prior to commencing the Work, submit copies of manufacturers current certification to ISO 9000.	Membrane, primers, sealants, adhesives and associated auxiliary materials shall be included.

.2	Prior to commencing the Work, submit references clearly indicating that the materials proposed have been installed for not less than fifteen years on projects of similar scope and nature. Submit references for a minimum of ten projects.

.3	Prior to commencing the Work submit manufacturers complete set of standard details for waterproofing systems.

1.6	Quality Assurance

.1	Perform Work in accordance with the printed requirements of the membrane manufacturer and this specification. Advise designer of any discrepancies prior to commencement of the Work.

.2	Maintain one copy of manufacturers literature on site throughout the execution of the Work.

.3	At the beginning of the Work and at all times during the execution of the Work, allow access to site by the waterproofing membrane manufacturers representative.

.4	Materials used in this Section, including, primers, mastics and membranes, asphaltic protection boards, composite drainage boards and expansion joint membranes shall be fully compatible and shall be sourced and or produced by one manufacturer.

.5	Submit copies of the membrane manufacturers current ISO certification including the manufacturing of the membrane, primer, mastics, adhesives and asphaltic protection board.

1.7	Delivery, Storage and Handling

.1	Deliver materials to the job site in undamaged and original packaging indicating the name of the manufacturer and product.

.2	Cold applied elastomeric membrane should be stored in closed containers outdoors.

.3	Store membrane at temperature of 5 degrees C (40 degrees F) and above to facilitate handling.

.4	Membrane contain petroleum solvents and are flammable. Do not use near open flame.

.5	Store role materials horizontally in original packaging.

.6	Store adhesives and primers at temperatures of 5 degrees C and above to facilitate handling.

.7	Keep solvents away from open flame or excessive heat.

1.8	Co-ordination

.1	Ensure continuity of the waterproofing membrane throughout the scope of this section.

.2	Work shall be so scheduled as to provide a watertight seal at the end of each working day on the areas worked upon during the day.

1.9	Site Conditions

.1	Environnemental Requirements

.1	No installation work shall be performed during rainy or inclement weather and on frost or wet covered surfaces.

.2	Protection

.1	Provide adequate protection of materials and work of this section from damage by weather backfilling operations and other causes.

.2	Protect work of other trades from damage resulting from work of this section. Make good such damage at own expense to satisfaction of the consultant.

.3	Apply protection board as soon as possible after installation of membrane.

1.10	Alternates

.1 	Submit requests for alternates in accordance with Section [XXXXX] - [XXXXX].

.2	Alternate submission format to include:

.1	Submit evidence that alternate materials meet or exceed performance characteristics of Product requirements and documentation from an approved independent testing laboratory certifying that the performance of the waterproofing membrane system including drain boards and transition sheets, exceed the requirements of the National Building Code.

.2	Submit copies of manufacturers’ current ISO certification.

.3	Submit references clearly indicating that the membrane manufacturer has successfully completed projects on a annual basis of similar scope and nature for a minimum of fifteen years.

.4		Submit manufacturers’ complete set of standard details for the roofing membrane systems showing a continuous plane of water tightness throughout the building envelope.

.3	Submit requests for alternate to this specification a minimum of fifteen (10) working days prior to tender closing for evaluation. Include a list of 25 projects executed over the past fifteen years.

.4	Acceptable alternates will be confirmed by addendum. Substitute materials not approved in writing prior to tender closing shall not be permitted for use on this project.

SPEC NOTE: This Guide Specification includes a standard contractor’s 2 year warranty and manufacturer’s 5 year material warranty.  An extended 10 year material warranty (5 + 5) is available for multi-ply systems provided Bakor Drain Board systems are installed over the waterproofing membrane in accordance with the manufacturers written instructions.

1.11	Warranty

.1	For the Work of this Section, the 12 months warranty period prescribed in subsection GC 32.1 of General Conditions “C” is extended to [24 months] [60 months].

.2	Contractor hereby warrants that the waterproofing membrane will stay in place and remain leakproof in [accordance with GC24], but for two years.

.3	Waterproofing membrane manufacturer hereby warrants that the waterproofing membrane will remain in a watertight condition and will not leak as a result of faulty materials for a period of ten years [five years for single ply without Bakor DB Drain Board). Scope of warranty shall include materials required to return the membrane to a watertight condition.

## Part 2: MATERIALS

2.1	Components and materials must be obtained as a single-source from the membrane manufacturer to ensure total system compatibility and integrity.

2.2	Waterproofing Membrane Manufacturer: Henry Company Canada,

15 Wallsend Drive

Scarborough, ON  M1E 3X6

Tel: 1-800-523-0268

Fax: 1-866-223-1285

Web Site: www.bakor.com

2.3	Primary cold applied elastomeric asphalt emulsion waterproofing membrane in compliance with CGSB 37.2 shall be Aqua-Bloc® 720-38 Elastomeric Asphalt Emulsion Waterproofing Membrane manufactured by Bakor, a one component waterproofing compound compatible with sheet waterproofing membranes and substrates, having the following characteristics:

.1	Elongation: 2000%,

.2	Maximum VOC: 10 g/l

.3	Water vapour permeance: 10 ng/Pa.m².s, ASTM E96,

.4	Chemical resistance: Alkalis, calcium chloride, mild acid and salt solutions.

2.4	Fabric reinforcement shall be 990-06 Yellow Jacket as supplied by Bakor, a glass reinforcement sheet capable of allowing the membrane to bleed through adequately to provide a monolithic reinforced membrane system.

2.5	Flashing & transition membrane shall be Blueskin® WP200 manufactured by Bakor, 1.5mm (60 mils) SBS modified bitumen, self-adhering sheet membrane with a cross-laminated polyethylene film, complete with Blueskin® Primer and fillet bead of POLYBITUME® 570-05 Polymer Modified Sealing Compound or HE925 BES Sealant a moisture cure, medium modulus polymer modified sealing compound.

SPEC NOTE: Protection Boards and Drain Boards. This Guide Specification includes two options for waterproofing membrane protections. Choose 2.6.1 for light duty protection in both horizontal and vertical applications, where a higher degree of protection is required based on back fill materials and surface treatment, choose 2.6.2 for heavy-duty protection. For the extended warranty and the added protection of a drain board choose 2.8 for light duty vertical applications and 2.9 for heavy-duty vertical and horizontal applications.

2.6	Protection Boards

.1	Polypropylene Protection Board shall be 990-31 extruded flexible twin-wall protection board as   manufactured by Bakor, with the following properties:

- Thickness: 2mm

- Weight: 0.45 kg/m2

3.	Compressive Strength: 0.45 kg/cm2

.2	Asphalt Protection Board shall be 3mm (1/8”) [6 mm (1/4)] thick asphalt core protection board manufactured by Bakor, having the following physical properties:

1.	Core: Mineral filled high melt point asphalt;

2.	Top surface: Inert non-woven glass reinforcing mat with polyethylene film cover;

3.	Bottom surface: Inert non-woven glass reinforcing mat.

2.7	Protection Board Adhesive shall be 230-21 Adhesive manufactured by Bakor, a synthetic rubber base compound having the following characteristics:

.1	Compatible with air/vapour barrier membrane, substrate and insulation materials,

.2 	Long term flexibility: Pass CGSB 71-GP-24M,

.3	Chemical resistance: Alkalis, mild acid and salt solutions.

2.8		Prefabricated Drainage Board (Vertical) shall be Bakor DB 2000 Prefabricated Composite Drain Board, a polypropylene core board with polypropylene fabric attached, having the following physical properties:

.1		Flow Rate:  223 L/min/m,

.2		Compressive Strength: 11,000 psf,

.3		Thickness:  10 mm

2.9		Prefabricated Drainage Board (Vertical & Horizontal) shall be Bakor DB 6200 Prefabricated Composite Drain Board, a polypropylene core board with polypropylene fabric attached, having the following physical properties:

.1		Flow Rate (V):  223 L/min/m,

.2		Flow Rate (H):  40 L/min/m,

.3		Compressive Strength: 15,100 psf,

.4		Thickness:  10 mm

2.10	Prefabricated Drainage Board Accessories

.1	Securement Bars: Continuous 6 mm x 20 mm (1/4” x 3/4”) HDPE bar for screw attachment.

.2	Moulding Strip:  Continuous 90 mm wide “Z” flashing strip to fit over exposed top edge of drain board.

.3	Drain Board Plugs & Nails:  HDPE pre-moulded washer to fit dimples c/w high strength, corrosion resistant concrete nails, UCAN AFH 37 or equal.

.4	Termination Sealant: POLYBITUME® 570-05 Polymer Modified Sealing Compound manufactured by Bakor, compatible with sheet waterproofing membrane, substrate and insulation materials, complies with CGSB 37.29, remains flexible with ageing and chemically resistant to alkalis, calcium chloride, mild acid and salt solutions.

## Part 3: EXECUTION

3.1	Condition of Surfaces

.1	Before commencing work, ensure environmental and site conditions are suitable for installation of waterproofing membrane.

.2	The substrate shall be clean and dry, free from surface water, ice, snow or frost, dust, dirt, oil, grease, curing compounds or any other foreign matter detrimental to the adhesion of the waterproofing membrane.

.3	Can be applied to damp or new green concrete.  Ensure concrete is smooth and free from voids and honeycombing prior to application of waterproofing membrane.

.4	Voids, cracks, holes and other damages to horizontal or vertical surfaces shall be repaired before application of the membrane.

### 3.2	Deck to Vertical Junctures, Footing/Foundation Walls, Cracks in Slab and Protrusions

.1	Coat penetrations, such as brackets, clips, braces, etc. that are set into the concrete with a 2.3 mm (90 mil) coating of primary waterproofing membrane to the height of the wearing course and around projections to ensure a complete seal prior to coating the entire area.

.2	Penetrations subject to movement should be flashed with fabric reinforcement set into a minimum thickness of 2.3 mm (90 mil) of primary waterproofing membrane to required height on the wall and at least 100 mm (4”) on the slab, embed fabric reinforcement into wet coating followed by second coat.

.3	To all cracks and cold joints less than 3 mm (1/8”) apply a coat of primary waterproofing membrane at a minimum thickness of 2.3 mm (90 mil) and reinforce with fabric reinforcement.

.4	To all cracks greater than 3 mm (1/8”), prime area and install self-adhered flashing membrane.  Overlap end joint of sheet a minimum 75 mm (3”).

.5	At monolithic wall/slab junctures, apply primary waterproofing membrane at a minimum thickness of 2.3 mm (90 mil) to required height on the wall and at least 100 mm (4”) on the slab and embed fabric reinforcement into wet primary waterproofing membrane followed by a second coat.

.6	At non-monolithic wall/slab junctures, prime area, trowel-in fillet bead to inside corners and install self-adhered flashing membrane sheet to the required height on the wall and at least 100 mm (4”) on the slab.  Lap primary waterproofing membrane over a minimum of 50 mm (2”).

.7	At footing to foundation wall junctions apply a coat of primary waterproofing membrane at a minimum thickness of 2.3 mm (90 mil) and reinforce with fabric reinforcement followed by second coat.

##### 3.3	Primary Waterproofing Membrane Application

.1	Single Coat Application (Vertical Applications)

.1	Apply a full and continuous coat of primary waterproofing membrane with a trowel, long handled squeegee, roofing brush or spray.  Apply membrane at a rate of 2.0 l/m2 (5 gal. U.S./100ft.2) to provide a minimum wet thickness of 2.3 mm (90 mils) ensuring no pinholes or blisters. Allow membrane to fully cure/dry prior to subsequent application coatings.

.2	Heavy Duty Application (Vertical and Horizontal Applications)

.1	Apply a full and continuous coat of primary waterproofing membrane at approximately 1.5 l/m2 (3.6 gal. US/100ft2) and embed fabric reinforcement into coating ensuring no fishmouths or wrinkles are created and allow to set.  Allow membrane to fully cure/dry prior to subsequent application coatings.

.2	Apply second full and continuous coat of primary waterproofing membrane at 1.5 l/m2 (3.6 gal./100ft.2) and allow to cure.

3.4	Installation of Protection Board

.1	Protection Boards shall be installed over the waterproofing membrane to prevent damage from materials used in backfilling.

.2	Allow waterproofing to cure dry and apply protection board adhesive in 12 mm wide strips spaced at 450 mm o/c to cure waterproofing membrane.  Immediately embed protection board and press into adhesive to ensure full contact.

.3	Do not backfill until adhesive has cure dried. Do not use excessive levels of adhesive.

3.5		Installation of Drainage Board (Vertical)

.1	Align and hang drainage up to foundation wall. Position bottom edge of drainage board to be in moderate contact with weeping tile system.

.2	Secure drainage board to foundation wall with nails and washers spaced 450 mm o/c horizontally. Install minimum of 2 rows staggered and spaced 150 mm apart and min 150 from top edge.

.3	Align and install termination strip along top edge with nails spaced 300 mm o/c and seal with termination sealant.

.4	Align and install moulding strip over completed top edge detail.

.5	Overlap end laps, pull back loose fabric to expose drain core and position core of second panel over the overlap flange of first panel.

.6	Bend drain board to create inside corners and cut board to create outside corners, provide 75 mm of extra fabric to wrap corner.

.7	Stagger or offset joints of drain board sheets.

.8	Place all subsequent sheets in an overlapping single fashion.

.9	Backfill bottom edge in conjunction with weeping tile system.

3.6		Installation of Drainage Board (Horizontal)

.1	Loose lay boards starting an low point of roof, the edge of the core flange shall be at the higher edges of the substrate, away from drains.

.2	Overlap in the direction of water flow.  Pull back loose fabric to expose drain core and position core of second panel over the overlap flange of first panel.

.3	Bend drain board to create inside corners and cut board to create outside corners, provide 3 inch of extra fabric to wrap corner.

.4	Stagger or offset joints of drain board sheets.

.5	Place all subsequent sheets in an overlapping single fashion.

3.7	Clean-Up

.1	Promptly as the work proceeds and on completion clean up and remove from site all rubbish and surplus materials resulting from the foregoing work.