SPEC NOTE: This specification includes materials and installation procedures for Blueskin® SA, a sheet applied  self-adhering air and vapour barrier membrane in accordance with the requirements of the NBC for the building envelope.  Blueskin® SA is applied direct to prepared and primed construction substrates and is ideally suited for premium performance wall systems typical of Hospitals, Schools and commercial projects.  This specification should be adapted to suit the requirements of individual projects. It is prepared in CSC-NMS three part format and should be included as a separate section under Division 7 - Thermal and Moisture Protection.

## PART 1: GENERAL

1.1		General Requirements

.1	The General Conditions, the Supplementary Conditions, the Instructions to Bidders and Division One General Requirements shall be read in conjunction with and govern this section.

.2	The Specification shall be read as a whole by all parties concerned.  Each Section may contain more or less than the complete work of any trade.  The Contractor is solely responsible to make clear to the Subcontractors the extent of their work.

1.2		Description

.1	Supply labour, materials, plant, tools and equipment to complete the Work as shown on the Drawings and as specified herein to bridge and seal the following air leakage pathways and gaps:

- Connections of the walls to the roof air barrier.

- Connections of the walls to the foundations.

- Seismic and expansion joints.

- Openings and penetrations of window and door frames, store front, curtain wall.

- Piping, conduit, duct and similar penetrations

- Masonry ties, screws, bolts and similar penetrations.

- All other air leakage pathways in the building envelope.

.2	Materials and installation methods of the primary air/vapour & rain barrier membrane system.

.3	Materials and installation methods of dampproof coursing and through-wall flashing membranes.

.4	Materials and installation methods for the adhesion of rigid and semi-rigid insulating materials.

1.3	Related Sections

.1	Masonry:			Section [XXXXX]

.2	Insulation:			Section [XXXXX]

.3	EIFS:				Section [XXXXX]

.4	Metal Siding:			Section [XXXXX]

.5	Roofing:			Section [XXXXX]

.6	Door & Window Frames:	Section [XXXXX]

1.4	REFERENCES

.1	The following standards are applicable to this section:

.1	ASTM E2178: Standard Test Method for Air Permeance of Building Materials.

.2	ASTM E283: Standard Test Method for Determining the Rate of Air Leakage Through Exterior Windows, Curtain Walls, and Doors Under Specified Pressure Differences Across the Specimen.

.3	E1677 Specification for Air Retarder (AR) Material or System for Low-Rise Framed Building Walls

.4	ASTM E330: Standard Test Method for Structural Performance of Exterior Windows, Curtain Walls, and Doors by Uniform Static Air Pressure Difference.

.5	ASTM E331: Standard Test Method for Water Penetration of Exterior Windows, Skylights, Doors, and Curtain Walls by Uniform Static Air Pressure Difference

.6	ASTM E96: Water Vapor Transmission of Materials.

.7	CGSB 37-GP-56M: Membrane, Modified, Bituminous, Prefabricated, and Reinforced.

.8	ASTM 2357 certifying the air leakage and vapour permeance rates for system assembly.

1.5	Submittals

.1	Submit documentation from an approved independent testing laboratory certifying the air leakage rates of the air barrier membranes assembly, including primary membrane, adhesive, primer and sealants have been tested to meet ASTM E 2357.  Submittal to include testing for both regular and low temperature grades on both porous and sheathing substrates.

.2	Submit documentation from an approved independent testing laboratory certifying the air leakage and vapour permeance rates of the air barrier membranes, including primary membrane and transition sheets, exceed the requirements of the Massachusetts Energy Code and in accordance with ASTM E2178.

- Test report submittals shall include test results on porous substrate and include sustained wind load and gust load air leakage results.

- Test reports to be provided for both regular and low temperature grades.

.3	Prior to commencing the Work, submit documentation from an approved independent testing laboratory certifying that the air leakage and vapour permeance rates of the air barrier membranes, including primary membrane and transition sheets, exceed the requirements of the National Building Code.

.4	Prior to commencing the Work submit copies of manufacturers’ current ISO certification. Membrane, primers, sealants, adhesives and associated auxiliary materials shall be included.

.5	Prior to commencing the Work submit references clearly indicating that the membrane manufacturer has successfully completed projects on an annual basis of similar scope and nature for a minimum of fifteen years.  Submit references for a minimum of ten projects.

.6	Prior to commencing the Work submit manufacturers’ complete set of standard details for the air barrier membrane systems showing a continuous plane of air tightness throughout the building envelope.

.7	Prior to commencing work provide material checklist complete with application rates & minimum thickness of primary membranes.

1.6	Quality Assurance

.1	Submit in writing, a document stating that the applicator of the primary air/vapour barrier membranes specified in this section is recognized by the manufacturer as suitable for the execution of the Work.

.2	Perform Work in accordance with the manufacturer’s written instructions of the air/vapour barrier membrane and this specification.

.3	Maintain one copy of manufacturer ‘s written instructions on site.

.4	At the beginning of the Work and at all times during the execution of the Work, allow access to Work site by the air/vapour barrier membrane manufacturers' representative.

.5	Components used in this section shall be sourced from one manufacturer, including sheet membrane, air/vapour barrier sealants, primers, mastics and adhesives.

1.7	Mock-Up

.1	Construct mock-up in accordance with Section 01340 - Shop Drawings, Product Data, Samples and Mock-ups.

.2	Provide mock-up of air/vapour barrier materials under provisions of Section [      ] - [      ].

.3	Where directed by [engineer] [architect] [consultant], construct typical exterior wall panel, 2 m long by 2 m wide, incorporating [   ], substrate, window frame, attachment of insulation, and showing air/vapour barrier membrane application details.

.4	Allow 24 h for inspection of mock-up by [engineer] [architect] [consultant] before proceeding with air/vapour barrier work. Mock-up may remain as part of the Work.

1.8	Delivery, Storage and Handling

.1	Deliver materials to the job site in undamaged and original packaging indicating the name of the manufacturer and product.

.2	Store role materials on end in original packaging.

.3	Store adhesives and primers at temperatures of 5 degrees C and above to facilitate handling.

.4	Keep solvent away from open flame or excessive heat.

.5	Protect rolls from direct sunlight until ready for use.

1.9	Co-ordination

.1	Ensure continuity of the air/vapour barrier membrane system throughout the scope of this section.

1.10	Alternates

.1 	Submit requests for alternates in accordance with Section [XXXXX] - [XXXXX].

.2	Alternate submission format to include:

.1	Submit evidence that alternate materials meet or exceed performance characteristics of Product requirements as well as documentation from an approved independent testing laboratory certifying that the air leakage and vapour permeance rates of the air/ vapour barrier membranes, including primary membrane and transition sheets, exceed the requirements of the National Building Code, ASTM E 2357, the Massachusetts Energy Code and in accordance with ASTM E 2178.

.2	Submit copies of the manufacturers’ current ISO certification.

.3	Submit references clearly indicating that the membrane manufacturer has successfully completed projects on a annual basis of similar scope and nature for a minimum of fifteen years.

.4	Submit manufacturers’ complete set of standard details for air/vapour barrier membrane systems showing a continuous plane of air tightness throughout the building envelope.

.3	Submit requests for alternates to this specification a minimum of ten (10) working days prior to tender closing for evaluation. Include a list of ten projects executed over the past ten years.

.4	Acceptable alternates will be confirmed by addendum. Substitute materials not approved in writing prior to tender closing shall not be permitted for use on this project.

1.11	Warranty

.1		Provide manufacturer’s standard 5-year material warranty.

PART 2:  PRODUCTS

2.1	Air/vapour barrier membrane components and accessories must be obtained as a single-source from the membrane manufacturer to ensure total system compatibility and integrity.

2.2	Membrane Manufacturer:	Henry-Bakor

15 Wallsend Drive

Scarborough, ON  M1E 3X6

Tel: 1-800-523-0268

Fax: 1-866-223-1285

Web Site: www.bakor.com

2.3	Membranes

.1	Primary sheet air/vapour barrier membrane shall be Blueskin( SA manufactured by Henry-Bakor, a SBS modified bitumen, self-adhering sheet membrane complete with a cross-laminated polyethylene film. For application temperatures down to -12°C use Blueskin( SA LT. Membrane shall have the following physical properties:

.1	Thickness: 1.0 mm (40 mils),

.2 	Air leakage: <0.005 L/s.m² @ 75 Pa to ASTM E283-91,

.3	Tested to ASTM E 2357 for the air barrier assembly,

.4	Water vapour permeance: 1.71 ng/Pa.m².s (0.03 perms) to ASTM E96,

.5	Low temperature flexibility: -30 °C to CGSB 37-GP-56M,

.6	Elongation: 200% to ASTM D412-modifed.

.2	Through-wall flashing membrane and dampproof course (Self-Adhering) shall be Blueskin( TWF manufactured by Henry-Bakor, a SBS modified bitumen, self-adhering sheet membrane complete with a cross-laminated polyethylene film, having the following physical properties:

.1	Colour: Yellow,

.2	High Temperature Stability: 110 degrees C min. to ASTM D5147 (resistance to flow),

.3	Thickness: 1.0 mm (40 mils),

.4	Air leakage: <0.005 L/s.m² @ 75 Pa to ASTM E283-91,

.5	Water vapour permeance: 1.6 ng/Pa.m².s (0.03 perms) to ASTM E96,

.6	Low temperature flexibility: -30 °C to CGSB 37-GP-56M.

2.4	Adhesive and Primers

.1	Adhesive for self-adhering membranes at temperatures above -12°C shall be Blueskin( Adhesive manufactured by Henry-Bakor, a synthetic rubber based adhesive, quick setting, having the following physical properties:

.1	Colour: Blue,

.2	Weight: 0.8 kg/l,

.3	Solids by weight: 35%,

.4	Drying time (initial set): 30 minutes.

.2	Primer for self-adhering membranes at temperatures above –4 degrees C shall be Aquatac( Primer manufactured by Henry-Bakor, a polymer emulsion based adhesive, quick setting, having the following physical properties:

.1	Colour: Aqua,

.2	Weight: 1.0 kg/l,

.3	Solids by weight: 53%,

.4	Water based, no solvent odours,

.5	Drying time (initial set): 30 minutes at 50%RH and 20 degrees C.

.3	Adhesive for self-adhering membranes at temperatures above -12°C shall be Blueskin( LVC Adhesive a quick drying, lower volatile organic compound (VOC) formulation, rubber based adhesive designed to enhance the adhesion of self-adhesive membranes such as Blueskin®

.1	Colour: Blue

.2	Weight:: 0.9 kg/l

.3	Solids By Weight: 40%

.4	VOC Content: < 250 g / L

.5	Drying Time (initial set): Approximately 30 minutes.

SPEC NOTE: THERMAL SHORT CIRCUITING To reduce heat loss and restrict air convection between the air/vapour barrier membrane and insulating materials, secure the insulation in place with an insulation adhesive applied in a serpentine pattern in addition to butter the joints of all panels.  Co-ordinate with the Cavity Wall Insulation Section. Choose 2.4.1  & 3.7 for the insulation adhesive and method of installation.

2.4	Mastics & Termination Sealants

.1	Liquid air seal mastic and insulation adhesive shall be Air-Bloc 21 or 230-21 Insulation Adhesive manufactured by Henry-Bakor, a synthetic, trowel applied, rubber based adhesive, having the following characteristics:

.1	Compatibility: With air/vapour barrier membrane, substrate and insulation.

.2	Air leakage: 0.013 L/s.m² @ 100 Pa.,

.3	Water vapour permeance: 1.7 ng/Pa.m2.s. (0.03 perms),

.4	Long term flexibility: CGSB 71-GP-24M,

.5	Chemical resistance: Alkalis and salt.

.2	Termination Sealant shall be HE925 BES Sealant manufactured by Henry-Bakor, a moisture cure, medium modulus polymer modified sealing compound having the following physical properties:

.1	Compatible with sheet air barrier, roofing and waterproofing membranes and substrate,

.2	Complies with Fed. Spec. TT-S-00230C, Type II, Class A,

.3	Complies with ASTM C 920, Type S, Grade NS, Class 25,

.4	Elongation: 450 – 550%,

.5	Remains flexible with aging,

.6	Seals construction joints up to 25mm wide.

.7	For use in concealed or exposed application.

.3	Termination Sealant shall be POLYBITUME( 570-05 Polymer Modified Sealing Compound manufactured by Henry-Bakor, a polymer modified sealing compound having the following characteristics:

.1	Compatible with sheet waterproofing membrane and substrate,

.2	Solids by volume: 70%,

.3	Vapour permeance: 2.9 ng/Pa.m².s, ASTM E96,

.4	Complies with CGSB 37.29,

.5	Remains flexible with ageing,

.6	Chemical resistance: Alkalis, calcium chloride, mild acid and salt solutions.

### PART 3: EXECUTION

3.1	Examination

.1	Verify that surfaces and conditions are ready to accept the Work of this section. Notify [engineer] [architect] [consultant] in writing of any discrepancies. Commencement of the work or any parts

thereof 	shall mean acceptance of the prepared substrate.

3.2	.1	All surfaces must be sound, dry, clean and free of oil, grease, dirt, excess mortar or other contaminants. Fill spalled areas in substrate to provide an even plane.  Strike masonry joints flush.

.2	New concrete should be cured for a minimum of 14 days and must be dry before air/vapour barrier membranes are applied.

.3	Where curing compounds are used they must be clear resin based without oil, wax or pigments.

3.3	Adhesive or Primer for Transition and Through-wall Flashing Membrane (Self-Adhering)

.1	Apply adhesive or primer for self-adhering membranes at rate recommended by manufacturer.

.2	Apply to all areas to receive transition sheet and / or through-wall flashing membrane, as indicated on drawings by roller or spray and allow minimum 30 minute open time. Surfaces not covered by self-adhering transition membrane or self-adhering through-wall flashing membrane during the same working day must be re-applied.

  - Transition Membrane (Self-Adhering)

.1	Align and position self-adhering transition membrane, remove protective film and press firmly into place. Ensure minimum 50 mm overlap at all end and side laps.

.2	Tie-in to window frames, aluminium screens, hollow metal doorframes, spandrel panels, roofing system and at the interface of dissimilar materials as indicated in drawings

.3	Promptly roll all laps and membrane with a counter top roller to effect seal.

.4	Ensure all preparatory work is complete prior to applying liquid applied air vapour barrier membrane.

3.5	Through-wall Flashing Membrane & Dampproof Course (Self-Adhering)

.1	Apply through-wall flashing and dampproof coursing membrane in accordance with CSA A371-94 Masonry Construction for Buildings; along the base of masonry veneer walls, over windows, doors and other wall openings required to be protected.

.2	Applications shall form a continuous flashing membrane and shall extend up a minimum of 200 mm up the back-up wall.

.3	At the end of each days work seal the top edge of the membrane where it meets the substrate using liquid air seal mastic.  Trowel apply a feathered edge to seal termination and shed water.

.4		Ensure through-wall flashing membrane extends fully to the exterior face of the exterior masonry veneer.  At locations where flashing terminates or intersects wall openings including door frames, “end dam” flashing to protect openings and redirect water out.  Trim off excess as directed by the consultant.

.5	Apply dampproof coursing membrane over slabs on grade, prepare and prime surfaces, align and position membrane between slab and masonry block work.

.6	Align and position the leading edge of self-adhering through-wall flashing membrane with the front horizontal edge of the foundation walls, self angles and other substrates to be protected, partially remove protective film and roll membrane over surface and up vertically.

.7	Press firmly into place. Ensure minimum 50 mm overlap at all end and side laps. Promptly roll all laps and membrane to affect the seal.

.8	Ensure all preparatory work is complete prior to applying self-adhering through-wall flashing membrane.

.9		Ensure through-wall flashing membrane extends fully to the exterior face of the exterior masonry veneer.  Trim off excess as directed by the consultant.

3.6	Air/Vapour Barrier Membrane

.1	Apply self-adhering membrane complete and continuous to prepared and primed substrate in an overlapping shingle fashion and in accordance with manufacturer's recommendations and written instructions.  Stagger all vertical joints.

.2	Align and position self-adhering membrane, remove protective film and press firmly into place. Ensure minimum 50 mm overlap at all end and side laps. Promptly roll all laps and membrane with a counter top roller to affect the seal.

.3	At the end of each days work seal the top edge of the membrane where it meets the substrate using liquid air seal mastic.  Trowel apply a feathered edge to seal termination and shed water.

.4	Tie-in to window frames, aluminium screens, hollow metal doorframes, spandrel panels, roofing

system and at the interface of dissimilar materials as indicated in drawings. Refer to manufacturers’ standard details.

.5	Ensure all projections, including wall ties, are properly sealed with a caulk application of liquid air seal mastic.

.6	Mechanically fasten membrane through securement bars to all window, door, louvers and curtain wall sections as recommended by membrane manufacturer where proper adhesion and bonding cannot be maintained.

.7	Membrane applied to the underside of substrate surfaces shall receive special attention on application to ensure maximum surface area adhesion is obtained.

3.7	Installation of Insulation

.1	Co-ordinate with Cavity Wall Insulation Section [XXXXX] for insulating materials.

.2	Upon the curing of the air/vapour barrier membrane system apply the liquid air seal mastic and insulation adhesive in a serpentine pattern over completed air/vapour barrier membrane system.

.3	Immediately embed insulation into the adhesive and press firmly into place to ensure full contact. Apply additional adhesive if allowed to skin over.

.4	Fully butter all joints of insulation panels with adhesive during installation, except at expansion joints.

3.8	Inspection

.1	Notify [engineer] [architect] [consultant] when sections of work are complete so as to allow for review prior to installing insulation.

3.9	Protection of Finished Work

.1	Air-Bloc and Blueskin( membranes are not designed for permanent exposure. Product designed to withstand reasonable job site exposure, however good practice calls for covering as soon as possible.

.2	Damp substrates must not be inhibited from drying out.  Do not expose the backside of the substrate to moisture or rain.

.3	Cap and protect exposed back-up walls against wet weather conditions during and after application of membrane. Drying time varies depending on temperature and relative humidity.

.4	Air barrier membranes are not designed for permanent exposure. Good practice calls for covering as soon as possible.

END OF SECTION