SPEC NOTE: This Guide Specification includes materials and installation procedures for 2-ply SBS modified bitumen roofing membrane system over conventional insulated steel deck with air vapour barrier membrane in accordance with the requirements of the NBC for the building envelope.  This specification is ideally suited for premium performance roofing systems typical of Hospitals, Schools and commercial projects. This specification should be adapted to suit the requirements of individual projects. It is prepared in CSC three part format and should be included as a separate section under Division 7 - Thermal and Moisture Protection.

UL Class A: NC 3/4 or C-15/32, FR cap, G100, G2 or Base s/s, 1/2" wood fiber, glass fiber or perlite overlay, UL listed insulation, any thickness. FM Class 1: Steel, concrete, 1/12, ASTM E 108 Class A, Class I-90: G100gFR, NP180gFR cap, G100 or NP180 base, 1" wood fiber or perlite overlay, min 1.5" AC-Foam-ll, Hy-Therm AP or E"NRG"Y 2. FM Class 1: Steel, concrete, 1/12, ASTM E 108 Class C, Class I-90, Hail rating Class 1-SH: NP180g cap, G2 base, min. 1" Celotherm, Conperl, GAFTHERM Permalite' Fesco Board.

PART 1:  GENERAL

1.1		General Requirements

.1	The General Conditions, the Supplementary Conditions, the Instructions to Bidders and Division One General Requirements shall be read in conjunction with and govern this section.

.2	The Specification shall be read as a whole by all parties concerned.  Each Section may contain more or less than the complete work of any trade.  The Contractor is solely responsible to make clear to the Subcontractors the extent of their work.

1.2		Description

.1	Supply labour, materials, plant, tools and equipment to complete the Work as shown on the Drawings and as specified herein including, but not limited to the following:

.1	Steel Roof Deck (by others),

.2	Underlay Board (optional),

.3	Primer & Air Vapour Barrier Membrane,

.4	Roof Insulation & Tapered Insulation,

.5	Overlay Board mechanically fastened

.6	Base Sheet & Base Sheet Flashing mechanically fastened,

.7	Torch Grade Cap Sheet & Cap Sheet Flashing,

.8	Metal Flashings and Accessories.

1.3		Related Work

.1	Steel decking:			Section [XXXXX]

.2	Rough Carpentry:		Section [XXXXX]

.3	Metal Flashing and Trim:	Section [XXXXX]

.4	Caulking:			Section [XXXXX]

.5	Roof Drains:			Section [XXXXX]

.6	Roof Vents:			Section [XXXXX]

1.4		References

.1	ASTM C1177-96: 		Standard Specification for Glass Mat Gypsum Substrate for Use as Sheathing.

.2	ASTM D3273: 		Standard Test Method for Resistance to Growth of Mould on the Surface of Interior Coatings in an Environment Chamber

.3	CSA A123.4-[M1979]:	Bitumen for use in Construction of Built-Up Roof Coverings and Dampproofing                                        and Waterproofing systems.

.4	CAN/CSA-A247-[M86]:	Insulating Fibreboard.

.5	CSA 0121-[M1978]:	Douglas Fir Plywood.

.6	CAN/CGSB-37.9-[83]:	Primer, Asphalt, Unfilled for Asphalt Roofing, Dampproofing and                                                            Waterproofing.

.7	CAN/CGSB-37.29-[M89]:	Rubber-Asphalt Sealing Compound.

.8	CGSB 37-GP-56M-[80]:	Membrane, Modified, Bituminous, Prefabricated, and Reinforced for Roofing.

1.5		Shop Drawings

.1	Submit shop drawings in accordance with Section [XXXXX] - [XXXXX].

.2	Provide complete layout for tapered insulation system.

1.6		Storage and Handling

.1	Store modifiedPLUS( membranes and accessories in a dry location, in original containers.

.2	If product is stored outside, it must be elevated on a platform and be protected with a waterproof cover, which will shed water away from the material.

.3	Store all products in an upright position. Do not double stack unless product is on pallets and packaged as received from factory. Never stack more than two pallets high without racking.

.4	In cold weather store modifiedPLUS( membranes in heated area and take onto roof immediately prior to use.

.5	Store adhesives and primers between 15 degrees C (60 degrees F) and 26 degrees C (80 degrees F), or restore to temperature range before use.

.6	Store combustible materials away from heat and open flame.

.7	Do not store modifiedPLUS( membranes at ambient temperatures above 49 degrees C (120 degrees F).

1.7		Environmental Requirements

.1	modifiedPLUS( installations in temperatures below 4 degrees C (40 degrees F) can result in quality concerns.

.2	Verify adhesion regularly during cold temperature applications.

.3	Store rolls in heated location until needed on the roof.

.4	It is recommended that when temperatures remain below –10 degrees C (4 degrees F) for mopping applications and below –18 degrees C (0 degrees F) for thermofusible applications operations should be suspended.

.5	Minimum working temperatures shall take into consideration a factor for wind chill. Application temperature shall be considered to be the temperature minus half of the wind speed as recommended by the Canadian Roofing Contractors Association (CRCA).

1.8		Protection

.1	Maintain fire watch for one hour following each day’s work when membranes are thermofused.

.2	Maintain one fully operational fire extinguisher per torch applicator within 10 m of point of work.

.3	Protect membrane from site damage during application. Cover traffic areas with appropriate protection to serve as walkways so as to prevent any damage to the membrane.

1.9		Submittals

.1	Submit in writing, a document stating that the applicator of the primary membranes specified in this Section are recognized by the manufacturer as suitable for the execution of the Work.

.2	Prior to commencing the Work submit copies of manufacturers’ current ISO certification. Membrane, primers, sealants, adhesives and associated auxiliary materials shall be included.

.3	Prior to commencing the Work submit references clearly indicating that the membrane manufacturer has successfully completed projects on an annual basis of similar scope and nature for a minimum of fifteen years.  Submit references for a minimum of ten projects.

.4	Prior to commencing the Work submit manufacturers’ complete set of standard details for the air/vapour barrier and roofing membrane systems showing a continuous plane of air tightness throughout the building envelope.

1.10	Quality Assurance

.1	Perform Work in accordance with the printed requirements of the membrane manufacturer and this specification. Advise designer of any discrepancies prior to commencement of the Work.

.2 	Maintain one copy of manufacturers literature on site throughout the execution of the Work.

.3	At the beginning of the Work and at all times during the execution of the Work, allow access to site by the roofing membrane manufacturers representative.

.4	At the request of the [architect] [engineer] [consultant], submit documentation certifying that the roofing membranes comply with CGSB 37-GP-56M.

.5	Materials used in this Section, including air/vapour barrier membranes, roofing membranes, primers, mastics, adhesives and sealants shall be fully compatible and shall be sourced from one manufacturer.

.6	At the request of the [architect] [engineer] [consultant], submit copies of the membrane manufacturers current certification to ISO 9000.

1.11  	Alternates

.1 	Submit requests for alternates in accordance with Section [XXXXX] - [XXXXX].

.2	Alternate submission format to include:

.1	Submit evidence that alternate materials meet or exceed performance characteristics of Product requirements and documentation from an approved independent testing laboratory certifying that the performance of the roofing membrane system including air vapour barrier and transition sheets, exceed the requirements of the National Building Code.

.2	Submit copies of manufacturers’ current ISO certification.

.3	Submit references clearly indicating that the membrane manufacturer has successfully completed projects on a annual basis of similar scope and nature for a minimum of five years.

.4		Submit manufacturers’ complete set of standard details for the roofing membrane systems showing a continuous plane of air tightness throughout the building envelope.

.3	Submit requests for alternates to this specification a minimum of fifteen (10) working days prior to tender closing for evaluation. Include a list of 10 projects executed over the past five years.

.4	Acceptable alternates will be confirmed by addendum. Substitute materials not approved in writing prior to tender closing shall not be permitted for use on this project.

1.12	Warranty

.1	For the Work of this Section, the 12 months warranty period prescribed in subsection GC 32.1 of General Conditions “C” is extended to [24 months] [60 months].

.2	Contractor hereby warrants the modified bituminous roofing and membrane flashings for leak coverage in [accordance with GC24], but for two years.

.3	Roofing membrane manufacturer hereby warrants the membrane and membrane flashings for leak coverage as a result of faulty materials for a period of [five years] [ten years]. Scope of warranty shall include material required to return the membrane to a watertight condition.

.4	Roofing membrane manufacturer hereby warrants the membrane and membrane flashings for leak coverage as a result of faulty materials or faulty workmanship for a period of ten [10] years. Scope of warranty shall include material and labour required to return the membrane to a watertight condition.

PART 2:  PRODUCTS

# 2.1	Components and membrane materials must be obtained as a single-source from the membrane manufacturer to ensure total system compatibility and integrity.

2.2	Roofing Membrane Manufacturer: 	Bakor Inc.,

15 Wallsend Drive

Scarborough, ON  M1E 3X6

Tel: 1-800-387-9598

Fax: 1-866-483-9266

Web Site: www.bakor.com

2.3		Roof Underlay Board

.1	Glass mat faced, Factory primed, water resistant treated core gypsum board.  Conforming to ASTM C1177, non-combustible according to ASTM E136/ ULC S114, thermal barrier as tested to ULC-S126, flame spread = 0 and smoke developed = 0 according to ASTM E84/ULC S102. Dens Deck Prime 13 mm thick (1/2 inch).

.2	Glass Mat Faced Gypsum Board Adhesive shall be 830-05 Fire Resistive Roof and Insulation Adhesive manufactured by Bakor.

2.4		Primers

.1	Primer for all thermofused applications shall be 930-18 Poly-Tac™ rubberized primer manufactured by

Bakor and be fully compatible with membranes.

.2	Primer for all self-adhered air/vapour barrier membranes shall be Blueskin( Primer manufactured by Bakor and be fully compatible with membranes.

2.5		Air Vapour Barrier Membranes

.1	Air/vapour barrier membrane shall be VaporBlocTM SA, Self-Adhered Vapour Barrier Membrane as manufactured by Bakor, an SBS modified bitumen self-adhering membrane laminated to a blue cross laminated polyethylene film and having a minimum thickness of 0.8 mm (30 mils).

.2	Air/vapour barrier transition membrane shall be Blueskin( SA, manufactured by Bakor, an SBS modified bitumen, self-adhering sheet membrane complete with a cross-laminated polyethylene film and having a minimum thickness of 1.0 mm (40 mils).

.3	Liquid Air/Vapour Barrier Mastic shall be 230-21 Insulation Adhesive manufactured by Bakor, a synthetic, trowel applied, rubber based adhesive compatible with insulating material, having an air permeability of 0.013 L/s.m² @ 100 Pa., water vapour permeance of 1.7 ng/Pa.m2.s. (0.03 perms) and long-term flexibility in compliance with CGSB 71-GP-24M.

.4	Transition tape (Self-Adhered) shall be FlamGuard Self-Adhesive Tape manufactured by Bakor, an SBS modified bitumen self-adhering membrane reinforced with non-woven fibrous glass and having a minimum thickness of 1.5 mm (60 mils), used over joints and penetrations of the substrate to reduce the risks during hot applications.

2.6		Roof Insulation

.1	Extruded polystyrene to CAN/CGSB-51.20M, [ASTM C578-85-Type IV], Type [2] [4], to thickness indicated. Maximum dimension when hot mopping shall be 1219 mm (4' - 0").

.2	Fibrous glass [mineral wool] to CAN/CGSB-51.31, [FS HH-1-526/ASTM C726] to thickness indicated.

.3	Polyisocyanurate to CAN/CGSB-51.26M, [FS-HH-1-1972/Gen.]  [faced, type 1,2,3,4] to thickness indicated. Maximum dimension when hot mopping shall be 1219 mm (4' - 0").

.4	Expanded polystyrene to CAN/CGSB-51.20M [FS-HH-1-524C/ASTM C578] to thickness indicated. Maximum dimension when hot mopping shall be 1219 mm (4' - 0").

2.7		Tapered Roof Insulation as fabricated with a minimum thickness of 25 mm (1/2”) and minimum slope of 1:50 (2%).

2.8		.1	Wood fibreboard conforming to CAN/CSA-A247-M86 and shall have a minimum thickness of [11 mm (7/16')] [25 mm (1")].

.2	Overlay: Overlay shall be Re-Cover Board manufactured by Bakor. Minimum thickness shall be 3 mm (1/8"). Use appropriate surfacing depending on base sheet application method.

2.9		Wood cants strips with sloped side to measure 140 mm in width.  Wood cant strips to be dry and true before use.  Cant strips of wood fibre shall be cut from 38 mm-thick wood fibre, sloped side to measure 140 mm in width.

2.10	Membrane Base Sheets and Base Sheet Flashings for Thermofusible Cap Sheet

.1	Membrane base sheet and base sheet flashing (Standard Duty) shall be modifiedPLUS( G100p/s manufactured by Bakor, an SBS modified bitumen membrane having a minimum thickness of 2.0 mm (80 mils) and a glass reinforcement of 100 g/m2 meeting CGSB 37-GP-56M Type 2 Class C Grade 1. The upper surface shall have a polyethylene film and the lower surface shall be sanded.

.2	Membrane base sheet and base sheet flashing (Heavy Duty) shall be modifiedPLUS( NP180p/s manufactured by Bakor, an SBS modified bitumen membrane having a minimum thickness of 2.2 mm (88 mils) and a non-woven polyester reinforcement of 180 g/m2 meeting CGSB 37-GP-56M Type 2 Class C Grade 2. The upper surface shall have a polyethylene film and the lower surface shall be sanded.

2.11	Thermofusible Membrane Cap Sheets and Cap Sheet Flashings

.1	Cap sheet and cap sheet flashing (Standard Duty) shall be modifiedPLUS( NP180gT4 manufactured by Bakor, an SBS modified bitumen membrane having a minimum thickness of 4.0 mm (160 mils) and a non-woven polyester reinforcement of 180 g/m2 meeting CGSB 37-GP-56M Type 1 Class A Grade 2. The upper surface shall have ceramic granules and the lower surface shall have a polyethylene film.

.2	Cap sheet and cap sheet flashing (Heavy Duty) shall be modifiedPLUS( NP250gT4 manufactured by Bakor, an SBS modified bitumen membrane having a minimum thickness of 4.0 mm (160 mils) and a non-woven polyester reinforcement of 250 g/m2 meeting CGSB 37-GP-56M Type 1 Class A Grade 2. The upper surface shall have ceramic granules and the lower surface shall have a polyethylene film.

2.12	Expansion Joint Membranes

.1	Thermofusible expansion joint membrane shall be modifiedPLUS( 180p/p manufactured by Bakor, an SBS modified bitumen membrane having a minimum thickness of 3.0 mm (120 mils) and a non-woven polyester reinforcement of 180 g/m2 meeting CGSB-37-GP-56M Type 2 Class C Grade 2.  The upper and lower surface shall have a polyethylene film.

.2	Mop applied expansion joint membrane shall be modifiedPLUS( NP180p/s manufactured by Bakor, an SBS modified bitumen membrane having a minimum thickness of 2.2 mm (100 mils) and a non-woven polyester reinforcement of 180 g/m2 meeting CGSB 37-GP-56M Type 2 Class C Grade 2. The upper surface shall have a polyethylene film and the lower surface shall be sanded.

2.13	Membrane Termination Sealant:  Membrane termination sealant in compliance with CAN/CGSB 37.29, shall be Polybitume( 570-05 Polymer Modified Sealing Compound manufactured by Bakor.

2.14	Plastic Roof Cement in accordance with of CAN/CGSB-37.5. shall be Bakor 810-21 Plastic Roof Cement.

2.15	Pitch Pocket Mastic: Non-shrink 100% solids pourable mastic, Thermostic( 840-10 Internal Setting Roof Adhesive in conjunction with Blueskin( Primer Ultra manufactured by Bakor.

2.16	Fasteners:  Securement screws are to be Factory Mutual listed and approved #12 diameter with #3 phillips pan head, corrosion treated to withstand 30 cycles of the Kesternich test with only a minimum amount of red rust showing.  Fasteners must penetrate a minimum 12 mm (1/2") into steel decks, and 25 mm (1") into wood decks.  Stress plates are to be 76 mm (3") diameter galvalume metal to fit screw.

PART 3:  EXECUTION

3.1		Examination: Verify that all deck surfaces and substrates are acceptable for installation of the system.

3.2		Roof Underlay Board

.1	Install roof underlay board where required by NBC for thermal barrier protection.

.2	Apply a continuous coat of adhesive to steel deck in accordance with manufacturers requirements and lay underlay board into wet adhesive.

.3	Install only full pieces of underlay board, cut and fit boards to butt tight as recommended by manufacturer. Stagger and offset board joints.

3.3		Self-Adhered Air/Vapour Barriers

.1	Apply primer by roller or spray to all surfaces to be covered with self-adhered transition tape as required and allow to dry.

.2	Unroll and align transition membrane centered at low point of roof or drain.  Apply transition membrane by removing release paper providing 50 mm (2”) side and end laps.

.3	Apply membrane complete and continuous to prepared and primed substrate in an overlapping shingle fashion and in accordance with manufacturer's written instructions.  Stagger all vertical joints. Unroll and align air/vapour barrier centered at edge or low point of roof.

.4	Align and position membrane, remove protective film and press firmly into place. Ensure minimum 50 mm overlap at all end and side laps. Promptly roll all laps and membrane with a counter top roller to affect the seal.

.5	Coordinate application of roof air/vapour barrier with wall air/vapour barrier to ensure continuity.

3.7		Insulation and Overlay Fibre Board

.1	Install insulation in moderate contact, stagger end joints to provide a smooth surface for application of membrane.

.2	Secure insulation with fasteners as per insulation manufacturers instructions.

.3	Install only as much insulation as can be covered by roofing membrane in the same day.

.4	Install tapered insulation and fibreboard, secure with fasteners as per manufacturers recommendations. Install only as much tapered insulation and fibreboard as can be covered by roofing membrane in same day. Follow manufacturers’ written instructions.

.5	Install cant strips as detailed.

  - Mechanically Fastened Base Sheet

.1	Starting at the low point unroll base sheet and allow it to relax.

.2	Cover corners and changes in direction with 1 ply of self-adhered transition tape ready for fully torched membrane over initial membrane..

.3	Using screws & plates fasten edge and end laps with plates centred on the lap line every 400 mm (16) o.c. Thermally fuse the laps.   At all perimeters fasten base sheet at 300mm (12”)o.c. at the outside edge and for a distance of 10’ within the lap.

.4	Around all curbs & projections fasten base sheet at 300mm (12”) o.c.

.5	At all corners for a distance of 10’ x 10’ fasten the membrane every 12” o.c.

3.9	.1	Apply primer for base sheet flashings by roller or spray to all surfaces as required by membrane manufacturer and allow to cure dry prior to applying membrane.

# .2	Apply base sheet flashing to prepared substrate. Set in place and pull back release film 150 mm (6") to 300 mm (12") and place on to prepared surface. Remove release film from remainder of sheet and apply contact to sheet as the sheet is being unrolled to ensure proper contact with the prepared substrate. Overlap 75 mm (3") on side laps and 150 mm (6") on end laps. Treat end laps by heating with flame to melt polyfilm.

.3	Begin application 100 mm (4") from toe of cant and extend vertically as indicated. Mechanically fasten base sheet flashing using 25 mm (1") round top nails on 450 mm (18") centres. Refer to manufacturers standard details.

3.10	.1	Torch applied cap sheets: Apply cap sheet beginning at the low point of the roof or centre of

drain. Re-roll and torch apply to base sheet following manufacturers printed instructions.

.2	Carry to vertical or top of cant as specified.

3.11	.1	Torch applied cap sheet flashings: Begin application 150 mm (6") from toe of cant or vertical and

extend vertically as indicated.

3.12	 Expansion Joints (Torch Applied Method)

.1	At raised curb expansion joint details, install expansion joint membrane at the plane of the air/vapour barrier membrane.

.2	Loop flashing membrane down into joint ensuring that the depth of loop is a minimum 35 mm or 1.5 x the width.  Extend flashing membrane minimum of 150 mm (6") on each side of joint.  Lap end joints a minimum of 150 mm (6").

.3	Construct curbs, install insulation and overlay as specified.

.4	Apply membrane base sheet flashing and membrane cap sheet flashing by torching as per manufacturers’ instructions to primed substrate. Refer to manufacturers’ standard details.

.5	Mechanically fasten base sheet flashing using 25 mm (1") round top nails on 200 mm (8") centres.

END OF SECTION