SPEC NOTE: This Guide Specification includes materials and methods for the application of Aqua-Bloc 720-33, a spray applied elastomeric asphalt emulsion waterproofing membrane system. It is spray applied in conjunction with a setting agent to provide a very rapid cure. Typical applications are on below grade foundations to prevent the penetration of water under hydrostatic pressure.  Although edited, this specification should be adapted to suit the requirements of individual projects.  It is prepared in CSC-NMS three part format and should be included as a separate section under Division 7-Thermal and Moisture Protection.

## Part 1: GENERAL

1.1		General Requirements

.1	The General Conditions, the Supplementary Conditions, the Instructions to Bidders, and Division One, General Requirements shall be read in conjunction with and govern this section.

.2	The Specification shall be read as a whole by all parties concerned.  Sectioning of the Specification is for convenience.  Each Section may contain more or less than the complete work of any trade.  The Contractor is solely responsible to make clear to the Subcontractors the extent of their work.

1.2		Description

.1	Liquid Elastomeric Asphalt Waterproofing Membrane: Supply labour, materials, plant, tools and equipment to complete the Work as shown on the Drawings Architectural Division as specified herein including, but not limited to the following:

.1	Foundation Walls,

.2	Spray Applied Elastomeric Asphalt Waterproofing Membrane,

.4	Drain Board/Protection Boards,

.5	Native Back Fill.

1.3	Related Work

.1		Division 2 Site Work

.2		Division 3 Concrete

.3		Division 4 Masonry

.4		Division 5 Structural Steel

.5		Division 6 Rough Carpentry

.6		Division 7 Sealants & Flashings

.7		Division 15 Mechanical

1.4	Submittals

.1	Prior to commencing the Work, submit copies of manufacturers current certification to ISO 9001-2008.Membrane, primers, sealants, adhesives and associated auxiliary materials shall be included.

.2	Prior to commencing the Work, submit references clearly indicating that the materials proposed have been installed for not less than fifteen years on projects of similar scope and nature. Submit references for a minimum of ten projects.

.3	Prior to commencing the Work submit manufacturers complete set of standard details for waterproofing systems.

1.5	References

.1	CAN/CGSB-37.1M: Membrane, Elastomeric, Cold Applied Liquid.

.2		CAN/CGSB-37.9M: Primer, Asphalt, Unfilled for Asphalt Roofing, Dampproofing and Waterproofing.

.3		CGSB-37-GP-56M: Membrane, Bituminous, Prefabricated and Reinforced for Roofing.

1.6	Submittals

.1	Prior to commencing the Work, submit copies of manufacturers current certification to ISO 9002.	Membrane, primers, sealants, adhesives and associated auxiliary materials shall be included.

.2	Prior to commencing the Work, submit references clearly indicating that the materials proposed have been installed for not less than fifteen years on projects of similar scope and nature. Submit references for a minimum of ten projects.

.3	Prior to commencing the Work submit manufacturers complete set of standard details for waterproofing systems.

1.7	Quality Assurance

.1	Perform Work in accordance with the printed requirements of the membrane manufacturer and this specification. Advise designer of any discrepancies prior to commencement of the Work.

.2	Maintain one copy of manufacturers literature on site throughout the execution of the Work.

.3	At the beginning of the Work and at all times during the execution of the Work, allow access to site by the waterproofing membrane manufacturers representative.

.4	Submit documentation certifying that the primary material complies with CAN/CGSB 37.1M.

.5	Materials used in this Section, including, primers, mastics and membranes, asphaltic protection boards, composite drainage boards and expansion joint membranes shall be fully compatible and shall be sourced and or produced by one manufacturer.

.6	Submit copies of the membrane manufacturer’s current ISO 9000 certification including the manufacturing of the membrane, primer, mastics and adhesives.

1.8	Delivery, Storage and Handling

.1	Deliver materials to the job site in undamaged and original packaging indicating the name of the manufacturer and product.

.2	Cold applied elastomeric membrane should be stored in closed containers outdoors.

.3	Store membrane at temperature of 5(C (40(F) and above to facilitate handling.

.4	Membrane adhesive / primers contain petroleum solvents and are flammable. Do not use near open flame.

.5	Store roll materials in original packaging protected from weather..

.6	Keep solvents away from open flame or excessive heat.

1.9	Co-ordination

.1	Ensure continuity of the waterproofing membrane throughout the scope of this section.

.2	Works shall be so scheduled as to provide a watertight seal at the end of each working day on the areas worked upon during the day.

1.10	Site Conditions

.1	Environmental Requirements

.1	No installation work shall be performed during rainy or inclement weather and on frost or wet covered surfaces.

.2	Protection

.1	Provide adequate protection of materials and work of this section from damage by weather backfilling operations and other causes.

.2	Protect work of other trades from damage resulting from work of this section. Make good such damage at own expense to satisfaction of the consultant.

.3	Apply protection board as soon as possible after installation of membrane.

1.11	Material Manufacturer shall have available an in-house technical staff to assist the contractor, when necessary, in application of the products and final inspection of the assembly.

1.12	Alternates

.1 	Submit requests for alternates in accordance with Section [XXXXX] - [XXXXX].

.2	Alternate submission format to include:

.1	Submit evidence that alternate materials meet or exceed performance characteristics of Product requirements and documentation from an approved independent testing laboratory certifying that the performance of the waterproofing membrane system including drain boards and transition sheets, exceed the requirements of the National Building Code.

.2	Submit copies of manufacturers’ current ISO certification.

.3	Submit references clearly indicating that the membrane manufacturer has successfully completed projects on a annual basis of similar scope and nature for a minimum of fifteen years.

.4		Submit manufacturers’ complete set of standard details for the roofing membrane systems showing a continuous plane of water tightness throughout the building envelope.

.3	Submit requests for alternate to this specification a minimum of fifteen (10) working days prior to tender closing for evaluation. Include a list of 25 projects executed over the past fifteen years.

.4	Acceptable alternates will be confirmed by addendum. Substitute materials not approved in writing prior to tender closing shall not be permitted for use on this project.

1.13	Warranty

.1	For the Work of this Section, the 12 months warranty period prescribed in subsection GC 32.1 of General Conditions “C” is extended to [24 months] [60 months].

.2	Contractor hereby warrants that the waterproofing membrane will stay in place and remain leak proof in [accordance with GC24], but for two years.

.3	Waterproofing membrane manufacturer hereby warrants that the waterproofing membrane will remain in a watertight condition and will not leak as a result of faulty materials for a period of five years. Scope of warranty shall include material required to return the membrane to a watertight condition.

## Part 2: MATERIALS

2.1	All components and materials must be obtained as a single-source from the membrane manufacturer to ensure total system compatibility and integrity.

2.2	Waterproofing Membrane Manufacturer: Henry - Bakor

15 Wallsend Drive

Toronto, ON

M1E 3X6

Tel: 1-800-486-1278

Fax: 1-416-724-6818

Web Site: www.ca.henry.com

2.3	Primary Waterproofing Membrane: Cold applied elastomeric asphalt emulsion waterproofing membrane in compliance with CGSB 37.1M shall be Aqua-Bloc 720-33 Elastomeric Asphalt Emulsion Waterproofing Membrane as manufactured by Bakor, a two component spray applied waterproofing compound applied in one coat with setting agent to achieve immediate set through, compatible with sheet waterproofing membranes and ICF substrates, having the following characteristics:

.1	Elongation: 2000%,

.2	Maximum VOC: 10 g/l

.3	Water vapour permeance: 10 ng/Pa.m².s, ASTM E96,

.4	Chemical resistance: Alkalis, calcium chloride, mild acid and salt solutions.

2.4	Fabric Reinforcement: Fabric reinforcement shall be 990-06 Yellow Jacket as supplied by Henry - Bakor, a glass reinforcement sheet capable of allowing the membrane to bleed through adequately to provide a monolithic reinforced membrane system.

2.5	Liquid Membrane: Aqua-Bloc 720-38 Elastomeric Waterproofing Membrane as manufactured by Henry -Bakor, a cold applied asphalt emulsion waterproofing compound and sealant designed to be used in conjunction with sheet membrane.

SPEC NOTE: Protection Boards and Drain Boards. This Guide Specification includes two options for waterproofing membrane protection. Choose 2.6.1 for light duty protection in both horizontal and vertical applications. For the extended warranty and the added protection of a drain board choose 2.8 for light duty vertical applications and 2.9 for heavy-duty vertical and horizontal applications.

2.6	Protection Boards

.1	Polypropylene Protection Board shall be Henry – Bakor 990-31 extruded flexible twin-wall protection board as   manufactured by Bakor Inc. with the following properties:

- Thickness: 2mm

- Weight: 0.45 kg/m2

3.	Compressive Strength: 0.45 kg/cm2

2.7	Protection Board Adhesive: 230-21 Adhesive as manufactured by Henry – Bakor, a synthetic rubber base compound having the following characteristics:

.1	Compatible with air/vapour barrier membrane, substrate and insulation materials,

.2 	Long term flexibility: Pass CGSB 71-GP-24M,

.3	Chemical resistance: Alkalis, mild acid and salt solutions.

2.8		Prefabricated Drainage Board (Vertical):  Henry - Bakor DB 2000 Prefabricated Composite Drain Board, a polypropylene core board with polypropylene fabric attached, having the following physical properties:

.1		Flow Rate:  223 L/min/m,

.2		Compressive Strength: 11,000 psf,

.3		Thickness:  10 mm

2.9		Prefabricated Drainage Board (Vertical & Horizontal):  Henry - Bakor DB 6000 Prefabricated Composite Drain Board, a polypropylene core board with polypropylene fabric attached, having the following physical properties:

.1		Flow Rate (V):  223 L/min/m,

.2		Flow Rate (H):  40 L/min/m,

.3		Compressive Strength: 15,100 psf,

.4		Thickness:  10 mm

2.10	Prefabricated Drainage Board Accessories

.1	Securement Bars: Continuous 6mm x 20mm (1/4” x 3/4”) HDPE bar for screw attachment.

.2	Moulding Strip:  Continuous 90mm wide “Z” flashing strip to fit over exposed top edge of drain board.

.3	Drain Board Plugs & Nails:  HDPE pre-moulded washer to fit dimples c/w high strength, corrosion resistant concrete nails, UCAN AFH 37 or equal.

.4	Termination Sealant: Polybitume 570-05 Polymer Modified Sealing Compound as manufactured by Henry - Bakor, a polymer modified sealing compound, compatible with sheet waterproofing membrane, substrate and insulation materials, complies with CGSB 37.29, remains flexible with ageing and chemically resistant to alkalis, calcium chloride, mild acid and salt solutions.

## Part 3: EXECUTION

3.1	Examination

.1	Verify that surfaces and conditions are ready to accept the Work of this section. Commencement of the work or any parts thereof shall mean acceptance of the prepared substrate.

3.2	Preparation

.1	All surfaces must be sound, dry, clean and free of oil, grease, dirt, excess mortar, frost or other 		contaminants. Fill spalled areas in substrate to provide an even plane.

.2	May be applied to damp or green concrete.

.3	Use appropriate waterproofing membrane primer as recommended by manufacturer based on air and surface temperature at time of application.

.4	Prepare the setting agent by dissolving Calcium Nitrate granules in water at the rate of 1lb of Calcium Nitrate for 9 lbs. of water. (10% solution) following the manufacturer’s precautions.

.5	Apply by suitable spray equipment to allow complete mixing of the asphalt emulsion and the setting agent at the spray wand tip.

.6	 The setting agent should be introduced at the rate of approximately 10% to 20% of the throughput rate.

.7	Apply from the low point upward to allow released water to shed.

.8	Cured thickness to be a minimum of 1.3mm (55 mils).

3.3	Joint and Crack Treatment

.1	All cracks 1.5mm to 3mm wide are to be pre-treated with a 1.3 mm (55 mil) coating of liquid membrane 50 mm wide centred on the crack with fabric reinforcing.

.2	Horizontal to vertical inside corner transition areas are to be pre-treated with an liquid membrane fillet extending 19 mm vertically and horizontally from the corner. Apply a minimum 225 mm strip of fabric reinforcing centred at the joint.

.3	All outside corners are to be pre-treated with a minimum 225 mm strip of fabric reinforcing centred at the joint.

.4	Where three or more planes come into contact reinforce with cut sections of fabric reinforcing sheet as per manufacturers instructions.

##### 3.4	Primary Waterproofing Membrane Application

.1	Apply a full and continuous coat of primary waterproofing membrane by spray to provide a minimum dry film thickness of 1.3 mm (55 mils) ensuring no pinholes or blisters.

3.5	Installation of Protection Board

.1	Protection Boards shall be installed over the waterproofing membrane to prevent damage from materials used in backfilling.

.2	Allow waterproofing to cure dry and apply protection board adhesive in 12mm wide strips spaced at 450 mm o/c to cure waterproofing membrane.  Immediately embed protection board and press into adhesive to ensure full contact.

.3	Do not backfill until adhesive has cure dried. Do not use excessive levels of adhesive.

3.6		Installation of Drainage Board (Vertical)

.1	Align and hang drainage up to foundation wall. Position bottom edge of drainage board to be in moderate contact with weeping tile system.

.2	Secure drainage board to foundation wall with nails and washers spaced 450 mm o/c horizontally. Install minimum of 2 rows staggered and spaced 150 mm apart and min 150 from top edge.

.3	Align and install termination strip along top edge with nails spaced 300 mm o/c and seal with termination sealant.

.4	Align and install moulding strip over completed top edge detail.

.5	Pull back loose fabric to expose drain core and position core of second panel over the overlap flange of first panel to create an end lap..

.6	Bend drain board to create inside corners and cut board to create outside corners, provide 75 mm of extra fabric to wrap corner.

.7	Stagger or offset joints of drain board sheets.

.8	Place all subsequent sheets in an overlapping single fashion.

.9	Backfill bottom edge in conjunction with weeping tile system.

3.7		Installation of Drainage Board (Horizontal)

.1	Loose lay boards starting an low point of roof, the edge of the core flange shall be at the higher edges of the substrate, away from drains.

.2	Overlap in the direction of water flow.  Pull back loose fabric to expose drain core and position core of second panel over the overlap flange of first panel.

.3	Bend drain board to create inside corners and cut board to create outside corners, provide 3 inch of extra fabric to wrap corner.

.4	Stagger or offset joints of drain board sheets.

.5	Place all subsequent sheets in an overlapping single fashion.

3.8	Clean-Up

.1	Promptly as the work proceeds and on completion clean-up and remove from site all rubbish and surplus materials resulting from the foregoing work.