SPEC NOTE:  This master specification section includes HENRY BAKOR SPEC NOTEs for information purposes and to assist the architect / specification writer in making appropriate decisions. HENRY BAKOR SPEC NOTEs always immediately precedes the text to which it is referring. The section serves as a guideline only and should be edited with deletions and additions to meet specific project requirements.

SPEC NOTE:  This specification section follows the recommendations of the Construction Specifications Canada, Manual of Practice including MasterFormat, SectionFormat, and PageFormat. Optional text is indicated by square brackets [ ]; delete the optional text including the brackets in the final copy of the specification. Delete all SPEC NOTEs in the final copy of the specification. This Section is written for the Canadian industry with units of measurement shown in SI Metric and Imperial measurement following in square brackets.

SPEC NOTE:  This specification includes materials and installation procedures for Henry CM100, a high build, two ply system, cold applied, moisture cure, solvent free, elastomeric waterproofing and roofing membrane system for a protected membrane roofing assembly (PMRA). This specification is ideally suited for premium performance roofing systems typical of hospitals, schools, and commercial projects.

- GENERAL

  - GENERAL REQUIREMENTS

    - The General Conditions, the Supplementary Conditions, the Instructions to Bidders and Division 1 General Requirements shall be read in conjunction with and govern this section.

    - The Specification shall be read as a whole by all parties concerned.  Each Section may contain more or less than the complete work of any trade.  The Contractor is solely responsible to make clear to the Subcontractors the extent of their work.

  - SUMMARY

    - This Section includes requirements for supply and installation of the following, as required for complete and proper installation:

      - Concrete [Wood] [Metal w/sheathing overlay] Roof Deck (by others)

      - Reinforced Cold Fluid Applied Waterproofing Membrane

      - Protection Course/Separation Sheet

      - Drainage Composite

      - Rigid Insulation

      - Filter fabric

      - Pavers

  - RELATED REQUIREMENTS

SPEC NOTE:  Include in this paragraph only those sections and documents that directly affect the work of this section. Do not include Division 00 Documents or Division 01 Sections since it is assumed that all technical sections are related to all project Division 00 Documents and Division 01 Sections to some degree. Refer to other documents with caution since referencing them may cause them to be considered a legal part of the Contract. Edit the following paragraphs to suit specific project conditions.

    - Section 03 30 00 - Cast-In-Place Concrete

    - Section 03 31 00 - Structural Concrete

    - Section 03 41 00 - Precast Structural Concrete

    - Section 05 30 00 - Metal Decking

    - Section 06 10 00 - Rough Carpentry

    - Section 06 15 00 - Wood Decking

    - Section 07 21 00 - Thermal Insulation

    - Section 07 22 00 - Roof and Deck Insulation

    - Section 07 33 63 - Vegetated Roofing

    - Section 07 62 00 - Sheet Metal Flashing and Trim

    - Section 07 92 00 - Joint Sealants

    - Section 32 10 00 - Bases, Ballasts, and Paving

  - REFERENCES

    - Specification American Society for Testing and Materials (ASTM):

      - ASTM C78, Standard Test Method for Flexural Strength of Concrete (Using Simple Beam with Third-Point Loading)

      - ASTM C140, Standard Test Methods for Sampling and Testing Concrete Masonry Units and Related Units

      - ASTM C578, Standard Specification for Rigid, Cellular Polystyrene Thermal Insulation

      - ASTM C661, Standard Test Method for Indentation Hardness of Elastomeric-Type Sealants by Means of Durometer

      - ASTM C836, Standard Specification for High Solids Content, Cold Liquid-Applied Elastomeric Waterproofing Membrane for Use with Separate Wearing Course

      - ASTM C1621, Standard Test Method for Passing Ability of Self-Consolidating Concrete by J-Ring

      - ASTM D412, Standard Test Method for Vulcanized Rubber and Thermoplastic Elastomers - Tension

      - ASTM D624, Standard Test Method for Tear Strength of Conventional Vulcanized Rubber and Thermoplastic Elastomers

      - ASTM D695, Standard Test Method for Compressive Properties of Rigid Plastics

      - ASTM D3786, Standard Test Method for Bursting Strength of Textile Fabrics - Diaphragm Bursting Strength Tester Method

      - ASTM D4355, Standard Test Method for Deterioration of Geotextiles by Exposure to Light, Moisture and heat in a Xenon Arc Type Apparatus

      - ASTM D4388, Standard Specification for Nonmetallic Semi-Conducting and Electrically Insulating Rubber Tapes

      - ASTM D4533, Standard Test Method for Trapezoid Tearing Strength of Geotextiles

      - ASTM D4632, Standard Test Method for Grab Breaking Load and Elongation of Geotextiles

      - ASTM D4833, Standard Test Method for Index Puncture Resistance of Geomembranes and Related Products

      - ASTM D5893, Standard Specification for Cold Applied, Single Component, Chemically Curing Silicone Joint Sealant for Portland Cement Concrete Pavements

      - ASTM E96, Standard Test Methods for Water Vapor Transmission of Materials

    - Canadian General Standards Board (CGSB):

      - CGSB 37.58-M86, Membrane, Elastomeric, Cold-Applied, for Non-Exposed Use in Roofing and Waterproofing

  - ADMINISTRATIVE REQUIREMENTS

    - Coordination: Coordinate the Work of this Section with the installation of substrate; Sequence work so that installation of fluid-applied membrane roofing coincides with installation of substrate preparation without causing delay to the Work.

    - Pre-Construction Conference: Arrange a site meeting attended by the Contractor, the Subcontractor, the [engineer] [architect] [consultant], materials supplier(s), and other relevant personal before commencement of work for this Section; as indicated in Section [01 31 13 Project Meetings].

      - Review methods and procedures related to installation, including manufacturer's written instructions;

      - Examine substrate conditions for compliance with manufacturers installation requirements;

      - Review temporary protection measures required during and after installation.

  - SUBMITTALS

    - Provide requested information in accordance with Section [01 33 00 Submittals Procedures].

    - Action Submittals: Provide the following submittals before starting any work of this Section:

      - Product Data: Submit manufacturer’s data sheets covering the care and recommended maintenance procedures for incorporation into maintenance manuals.

      - Certifications:

        - Submit copies of manufacturers’ current ISO certification. Membrane, primers, sealants, adhesives and associated auxiliary materials shall be included.

      - Submit references clearly indicating that the manufacturer has successfully completed projects on an annual basis of similar scope and nature for a minimum of fifteen (15) years.  Submit references for a minimum of ten (10) projects.

      - Submit manufacturers’ complete set of standard details for the high-build waterproofing system showing a continuous plane of water tightness throughout the building waterproofing assembly.

      - Provide material checklist complete with application rates and minimum thickness of primary membranes.

  - QUALITY ASSURANCE

    - Qualifications: Provide proof of qualifications when requested by [engineer] [architect] [consultant]:

      - Submit in writing, a document stating that the applicator of the waterproofing specified in this section is recognized by the manufacturer as suitable for the execution of the Work.

      - Perform Work in accordance with the manufacturer’s written instructions of the waterproofing and this specification.

      - Maintain one copy of manufacturer's written instructions on site.

      - At the beginning of the Work and at all times during the execution of the Work, allow access to Work site by the manufacturers' representative.

      - Components used in this section shall be sourced from one manufacturer, including waterproofing, primers, liquid sealants, mastics and adhesives.

SPEC NOTE:  Mock-ups establish quality of the work for the materials indicated in this Section.  Delete the following paragraph if the scope of work in this Section is minimal and a mock-up is not required.

  - MOCK-UPS

    - Mock-ups: Construct mock-ups to verify selections made under submittals and to set quality standards for materials and execution in accordance with Section [01 45 00 Quality Control] for mock-ups and as follows:

      - Where directed by [engineer] [architect] [consultant], construct typical assembly, 2134mm x 2134mm (8' x 8'), incorporating substrate materials, waterproofing membrane, fabric reinforcement and adjacent materials including flashing, protection course, insulation,  drainage boards, termination sealant and ballast; showing waterproofing membrane application details.

    - Notify [engineer] [architect] [consultant] a minimum seven (7) days prior to mock-up construction.

    - Review and acceptance of mock-ups does not constitute approval of deviations from the Contract Documents contained in mock-ups unless [engineer] [architect] [consultant] specifically notes such deviations in writing.

    - Once reviewed by [engineer] [architect] [consultant], acceptable mock-up can form a permanent part of the Work, and will form the basis for acceptance for the remainder of the project.

    - Remove and replace materials found not acceptable at no cost to Owner.

  - DELIVERY, STORAGE AND HANDLING

    - Delivery: At the time of delivery, visually inspect all materials for damage. Note any damaged to materials on the receiving ticket and immediately report to the shipping company and the manufacturer.

      - Remove damaged materials from the site immediately.

    - Storage:

      - Store materials in accordance with manufacturer's written instructions, raised off the ground and cover with a weather proof flame resistant sheeting or tarpaulin.

      - Store role materials on end in original packaging.

      - Store cold fluid applied waterproofing in closed containers outdoors.

      - Store adhesives and primers at temperatures of 5 deg C (41 deg F) and above to facilitate handling.

      - Keep solvent away from open flame or excessive heat.

      - Protect products from direct sunlight until ready for use.

    - Handling: Material shall be handled in accordance with sound material handling practices and in accordance with manufacturer's written instructions.

  - COORDINATION

    - Ensure continuity of the water seal throughout the scope of this section.

    - Ambient Conditions:

      - Install materials outlined in this Section after completion of work by other Sections is complete; to provide adequate dry, clean, level, and plumb surfaces for installation and adhesion.

      - Apply when ambient air and substrate temperatures are above 3 deg C (37 deg F) and rising during time of install, and are expected to remain above that temperature for a minimum of 48 hours after installation.

      - Do not permit traffic of any kind over unprotected waterproof membranes. Apply protection course as soon as possible in accordance with manufacturers written instructions.

SPEC NOTE:  There are three (3) warranty configurations available from Henry Bakor.  Select one (1) of the following and delete the remaining warranty configuration not required on this project.

SPEC NOTE:  Charges apply to certain warranties and scope of coverage varies depending on the warranty configuration selected.  Contact Henry Bakor for complete warranty terms and conditions.

  - WARRANTY

    - Manufacturer’s Material Warranty:

      - Contractor must warranty that the waterproofing membrane and membrane flashings will stay in place and remain leak proof for two (2) years.

      - Waterproofing membrane manufacturer must warranty the membrane and membrane flashings for leak coverage as a result of faulty materials for a period of [five (5) years] [ten (10) years] [fifteen (15) years] [twenty (20) years] from the date of substantial completion.

    - Manufacturer’s Single Source System Warranty:

      - Contractor must warranty the waterproofing membrane and membrane flashings for leak coverage for two (2) years.

      - Waterproofing membrane manufacturer must warranty the membrane and membrane flashings for leak coverage as a result of faulty materials for a period of [five (5) years] [ten (10) years] [fifteen (15) years] [twenty (20) years] from the date of substantial completion.

      - Insulation shall retain 80% of its thermal value for the duration of the membrane warranty.

      - Pavers shall not split, crack or disintegrate prematurely due to freeze-thaw cycling for the duration of the membrane warranty to a maximum of ten (10) years.

    - Manufacturer’s Gold Seal Warranty:

      - Contractor must warranty the waterproofing membrane and membrane flashings for leak coverage for two (2) years.

      - Waterproofing membrane manufacturer must warranty the membrane and membrane flashings for leak coverage as a result of faulty materials or workmanship for a period of [five (5) years] [ten (10) years] [fifteen (15) years] [twenty (20) years] from the date of substantial completion.

      - Insulation shall retain 80% of its thermal value for the duration of the membrane warranty.

      - Pavers shall not split, crack or disintegrate prematurely due to freeze-thaw cycling for the duration of the membrane warranty to a maximum of ten (10) years.

    - Submit for Owner's acceptance, manufacturer's warranty document indicated above, executed by an authorized company official.  Manufacturer's warranty is in addition to, and not a limitation of, other rights Owner may have under Contract Documents.

- PRODUCTS

  - MATERIALS MANUFACTURER

    - Materials and accessories specified herein are manufactured by:

- Henry Bakor

- 15 Wallsend Drive, Scarborough, Ontario, Canada, M1E 3X6

- Phone: (800) 387 9598

- Website: www.ca.henry.com

  - MATERIALS

    - Waterproofing Membrane:

      - Fast curing, one component elastomeric, solvent free, moisture cure waterproofing compound designed to provide a seamless waterproofing membrane, and having the following physical characteristics:

        - Conforms to ASTM C836 and CAN/CGSB 37.58

        - Solids Content: +97%

        - Low Temperature Flexibility and Adhesion: No cracking, delamination or loss of adhesion @ -10 deg C (13 deg F)

        - Flash Point (Open Cup): >232 deg C (>450 deg F)

        - Maximum V.O.C. <40 grams/liter

        - Elongation (ASTM D412): 575%

        - Recovery (ASTM D412): 95%

        - Shore A Hardness (ASTM C661): Minimum 60

        - Adhesion in Peel after Water Immersion (ASTM C836): Pass

        - Water Vapor Permeance (ASTM E96):

          - Procedure A (Dry Cup): 0.054 perms (3.09 ng/Pa m² sec)

          - Procedure B (Inverted Wet Cup): 0.36 perms (20.6 ng/Pa m² sec)

        - Low Temperature Crack Bridging Capability: No cracking, No splitting, No loss of adhesion

        - Flammability Wet: Non-flammable

        - Hydrostatic Pressure Resistance (ASTM D5893): 100 psi (0.69 MPa)

        - Colour: Brown.

        - Basis of Design Product:  Henry CM100 manufactured by Henry Bakor

SPEC NOTE:  For enhanced performance at penetrations, perimeter-flashing, and areas that require UV resistance and traffic-ability Henry Bakor recommends the use of AQUA-BLOC® PUMA.

    - Flashing Membranes:

      - Liquid-Applied Flashing System: AQUA-BLOC® PUMA System supplied by Henry Bakor with catalyst mix and application rates per product technical data sheet, and consisting of:

        - AQUA-BLOC® PUMA Primer or AQUA-BLOC® PUMA Early Prime

        - AQUA-BLOC® PUMA Resin

        - AQUA-BLOC® PUMA Catalyst

        - AQUA-BLOC® PUMA Fleece

      - Elastomeric and Expansion Joint Sheet Flashings: consisting of a flexible flashing membrane composed of combination of butyl and EPDM polymers having the following physical properties:

        - Colour: Black

        - Tensile strength (ASTM D412): 210 kN/m (1200 lbf/in.)

        - Tear resistance (ASTM D624): 26 kN/m (150 lbf/in.)

        - Elongation (ASTM D412): 500%

        - Basis of Design Product: 990-25 Elastomeric Flashing Sheet Unreinforced manufactured by Henry Bakor.

        - Basis of Design Adhesive: MB Flashing 880-11 manufactured by Henry Bakor.

    - Fabric Reinforcement: Unsaturated spun bonded polyester mat reinforcement sheet having the following physical properties:

      - Grab tensile strength: MD (24 lbs.) 107N; XMD (22 lbs.) 98N

      - Trapezoid Tear: MD (8.5 lbs.) 38N; XMD (8.5 lbs.) 38N

      - Mullen Burst: 117 kPa (17 psi)

      - Thickness: 0.2 mm (8 mils)

      - Basis of Design Product: Polyester Fabric Reinforcement Sheet as supplied by Henry Bakor.

SPEC NOTE:  Select one of the following protection course options and delete the options note required on this project.

SPEC NOTE:  When overburden will consist of asphalt or concrete pavement, an asphaltic protection board is required as the protection course.

    - Protection Course:

      - Non-woven geotextile fabric made up of 100% post-consumer recycled material.

        - Thickness: 3mm (120 mils)

        - 100% post-consumer recycled polyester fabric

        - Apparent opening Size (AOS) (ASTM D 4751): 80 US Sieve

        - Grab Strength (ASTM D 4632): 200 lbs

        - Mullen Burst (ASTM D 3786): 350 psi

        - Puncture Strength (ASTM D 4833): 110 lbs

        - Tensile Elongation (ASTM D 4632): 50%

        - Trapezoid Tear (ASTM D 4533): 85 lbs

        - UV Resistance (ASTM D 4355): 70%

        - Basis of Design Product: GR08 Protection Fabric manufactured by Henry Bakor.

      - Non-exposed SBS modified bitumen having a sanded upper and lower surface, having the following physical properties in accordance with CGSB 37-GP-56M, Type 2, Class C, Grade 1:

        - Thickness: 2.0mm (80 mils)

        - Breaking strength: MD 631 N (142 lbf) XD 581N (131 lbf)

        - Ultimate elongation: MD 17% XD 21%

        - Low temperature flexibility at -10 deg C (14 deg F): No sign of cracking and pass water tightness

        - Basis of Design Product: ModifiedPLUS® G100s/s manufactured by Henry Bakor.

      - Extruded flexible twin wall board made of polypropylene copolymer and having the following physical properties:

        - Thickness 2mm (80 mils)

        - Tensile Strength Yield Point: 32 kg/cm²

        - Tensile Strength Point of Failure: 242 kg/cm²

        - Elongation: 167%

        - Compression Strength (ASTM D695): 0.54 kg/cm²

        - Impact Strength at 0 degrees C (32 degrees F): 8.9 kg/cm

        - Basis of Design Product: 990-31 Polypropylene Protection Board manufactured by Henry Bakor.

      - Prefabricated Drain Board: As indicated in Paragraph 2.2.9

      - Rigid Insulation Board: As indicated in Paragraph 2.2.10

    - Termination Sealant:

      - Moisture cure, medium modulus polymer modified sealing compound having the following physical properties:

        - Compatible with roofing and waterproofing membranes and substrate

        - Complies with Fed. Spec. TT-S-00230C, Type II, Class A,

        - Complies with ASTM C 920, Type S, Grade NS, Class 35,

        - Elongation: 450 – 550%

        - Remains flexible with aging

        - Seals construction joints up to 25mm (1") wide

        - Basis of Design Product:  HE925 BES Sealant manufactured by Henry Bakor

    - Securement Bars (By Others):

      - Securement bars shall be continuous aluminum, stainless steel or galvanized metal, 3mm x 25mm x 25mm (1/8" x 1" x 1") in size and shall be pre-drilled for non-corrosive screw attachment on a maximum of 200mm (8") centers.

SPEC NOTE:  Select one of the following drainage composite boards and delete the others not required on the project.

SPEC NOTE:  Where incorporation of an air layer between the insulation and concrete is desired Henry Bakor recommends the use of DB2000.

    - Drainage Board:

      - Henry DB Drainage Composite two-part prefabricated geo-composite drain board consisting of a formed polystyrene core covered on one side with a woven or non-woven polypropylene filter fabric:

        - Bakor DB 2000: Designed for vertical installations at shallower depths where moderate compressive strength is adequate.

        - Bakor DB 6000: Designed for vertical and horizontal installations requiring a high compressive strength and moderate flow capacity.

        - Bakor DB 6200: Designed for horizontal and vertical applications requiring high compressive strength, moderate flow capacity. A protective layer on its backside makes is ideally suited for use over liquid applied membranes.

        - Bakor DB 9000:  Designed for demanding horizontal applications in plaza deck, split slab and horizontal flatwork and pavement construction.

SPEC NOTE:  Select the compressive strength in accordance with project requirements.

    - Insulation:

      - Extruded Polystyrene rigid board insulation meeting the following properties:

        - ASTM C-578, Type VI or VII

        - ASTM E96 Water vapor permeance: 1.0 perms

        - Minimum water absorption by volume per ASTM C-272 of 0.1%

        - Minimum compressive strength to ASTM C-1621 shall be [40], [60] or [100] psi.

        - Acceptable Manufacturers:

          - The Dow Chemical Company

          - Owens Corning Canada

    - Roof Ballast:

      - Precast Plaza Deck Pavers:  Heavyweight, hydraulically pressed, concrete units, square edged, factory cast for use as roof pavers; absorption not greater than 5 percent, ASTM C140; no breakage and maximum 1 percent mass loss when tested for freeze-thaw resistance, ASTM C78 and as follows:

        - Size: 610mm x 610mm x 50mm (24" x 24" x 2").

        - Compressive Strength: 7500 psi, minimum ASTM C140

        - Colors and Textures: As selected by [Architect] [Consultant] [Engineer]

        - Pedestal Supports: Pedestal supports for pavers shall be in accordance with the paver manufacturer recommendations.

      - Concrete Pour Topping: As indicated in Section [03 31 00 Structural Concrete].

SPEC NOTE:  As a requirement for meeting certain warranty conditions, the waterproofing membrane must be tested for leaks.  The completed waterproofing system may be tested by either flood testing the area or Electric Vector Testing (EVT).  Delete the following paragraph if flood testing will be used for leak inspection testing.

  - FIELD QUALITY CONTROL

    - Electric Vector Testing (EVT) Quality Assurance Components (Alternate to flood testing):

      - Provide electrical wiring, and other components necessary for a testing agency to perform integrity testing of waterproofing membrane.

- EXECUTION

  - EXAMINATION

    - Verification of Conditions:

      - Examine substrates to receive work and surrounding adjacent surfaces for conditions affecting installation.

      - Notify [engineer] [architect] [consultant] in writing of any discrepancies. Commencement of the work or any parts thereof shall mean acceptance of the prepared substrate.

    - Notify Contractor in writing of any conditions that are not acceptable.

    - Proceed with installation after verification and correction of surface conditions acceptable to manufacturer.

  - PREPARATION

    - All surfaces must be sound, dry, clean and free of oil, grease, dirt, excess mortar or other contaminants. Concrete surfaces shall be free of large voids and spalled areas. Fill areas in substrate to provide an even plane.

    - Provide and install prefabricated expansion joint assemblies prior to application of the waterproofing assembly.

SPEC NOTE:  Select one or more of the following substrate preparation applications which are required for this project.

    - Acceptable Substrates:

      - Concrete:

        - Form Release Agents: Contact Henry Bakor

        - Cast-in-Place Concrete/Composite Deck/Precast Concrete:

          - Strength/Density: Minimum 17,235 kPa (2,500 psi) compressive strength and minimum 1842 kg/m3 (115 pcf) density.

          - Finish: Broom, wood-float, or wood-troweled equivalent finish.

            - Sandblast decks with a steel float finish prior to the application of the waterproofing system.

          - Concrete Hydration (Cure):

            - Method of Cure:  Water cure, wet coverings, paper sheets, plastic sheets or approved liquid curing compound (sodium silicate preferred).

            - Duration of Cure/Dry: Recommend 24 hours minimum after concrete forms have been removed.

        - Lightweight insulating concrete is not an acceptable substrate.

        - Structural Lightweight Concrete:

          - Metal pan decks to which concrete is poured shall be venting type.

          - Strength/Density: Minimum 17,235 kPa (2,500 psi) compressive strength and minimum 1842 kg/m3 (115 pcf) density.

          - Finish: Broom, wood-float, or wood-troweled equivalent finish.

            - Sandblast decks with a steel float finish prior to the application of the waterproofing system.

          - Concrete Hydration (Cure):

            - Method of Cure:  Water cure, wet coverings, paper sheets, plastic sheets or approved liquid curing compound (sodium silicate preferred).

            - Duration of Cure/Dry: Recommend 7 days minimum after concrete forms have been removed.

      - Sheathing over Metal Deck:

        - Review and determine that all surfaces are in accordance with manufacturers recommendations to receive the membrane and report any discrepancies prior to installing the waterproofing system.

        - Fasten sheathing board leveling surface onto the upper rib surfaces of metal deck, using fasteners, plates and fastening pattern recommended by the membrane manufacturer.

        - Seal substrate joints:

          - Center 305mm (12") wide polyester fabric reinforcement over sheathing joint.

          - Embed crack treatment membrane in 1.5mm (60 mils) cold fluid applied membrane waterproofing prior to installation on waterproofing membrane.

  - INSTALLATION WATERPROOFING

    - Detailing and Flashing:

      - All detailing and flashing shall be completed prior to installation of field waterproofing membrane.

      - All detailing and flashing shall be installed per manufacturer standard details and written instructions.

      - Adhesive or Primer:

        - Apply adhesive or primer for liquid-applied or sheet flashing at rate recommended by manufacturer.

        - Apply adhesive or primer to all areas to receive flashing, as indicated on drawings by roller or spray.

        - Surfaces not covered by flashing during the same working day must be re-applied.

      - Liquid Applied Flashing:

        - Once primer is dry, mix resin and catalyst as recommended by manufacturer, and apply the first coat at a wet film thickness of 50 mils (1.27mm).

        - Embed fleece reinforcement into wet resin with brush or roller, ensuring to remove all trapped air and excess resin.

        - Apply second coat at a wet film thickness of 30 mils (0.76mm) onto the fleece until it is completely saturated (no shiny areas).

        - Resin should extend a minimum of 50mm (2”) past the projected installed edge of the Fleece.

      - Sheet Applied Flashing:

        - Once flashing adhesive is tacky, set flashing in place and apply firm pressure to ensure total and firm contact with substrate.

    - Cold Fluid Applied Waterproofing Membrane:

      - Ensure deck is ready to receive cold fluid applied waterproofing membrane in accordance with published literature.

      - Apply first layer of cold fluid applied waterproofing membrane evenly to a minimum thickness of 1.5mm (60 mils) to form a continuous monolithic coating over horizontal and vertical surfaces including previously reinforced areas.

      - Apply polyester fabric reinforcing sheet and firmly press into first layer of cold fluid applied waterproofing.  Overlap polyester fabric reinforcing sheet approximately 25mm - 50mm (1" - 2") ensuring that a layer of cold fluid applied waterproofing membrane is present between each sheet.

      - Apply second layer of cold fluid applied waterproofing membrane over the polyester fabric reinforcing sheet to a minimum thickness of 1.5mm (60 mils) providing a total thickness of 3mm (120 mils).

SPEC NOTE:  Select the same protection course option as selected above and delete the remaining options.

    - Protection Course:  Protect waterproofing assembly from damage and UV in accordance with manufacturer published literature.

      - Non-woven geotextile protection fabric:

        - Install onto cold fluid applied waterproofing membrane while still tacky.

        - Where protection course is used lap membrane 50mm (2") on side laps and 150mm (6") on end laps.

        - Install protection course membrane in full continuous sheets in a shingle pattern starting at the low points or drains location. Stagger all end laps.

      - SBS modified bitumen membrane:

        - Install onto cured cold fluid applied waterproofing membrane.

        - Where protection course is used lap membrane 50mm (2") on side laps and 150mm (6") on end laps.

        - Install the protection course membrane in full continuous sheets in a shingle pattern starting at the low points or drains location. Stagger all end laps.

      - Extruded flexible twin wall board made of polypropylene copolymer:

        - Install onto cured cold fluid applied waterproofing membrane.

        - Install protection course with manufacturer recommended adhesive.

      - Prefabricated drain board:

        - Install onto cured cold fluid applied waterproofing membrane.

        - Refer to Paragraph 3.5 for installation instructions.

      - Insulation:

        - Install onto cured cold fluid applied waterproofing membrane.

        - Refer to Paragraph 3.6 for installation instructions.

      - Asphalt Rigid Board:

        - Contact Henry Bakor Technical Services for product recommendations and installation procedures.

SPEC NOTE:  As a requirement for meeting certain warranty conditions, the waterproofing membrane must be tested for leaks.  The completed waterproofing system may be tested by either Electronic Vector Testing (EVT) or flood testing.

SPEC NOTE:  Select the same option as above and delete the test inspection which is not required on this project.

  - FINAL INSPECTION

    - Notify [engineer] [architect] [consultant] when sections of work are complete so as to allow for review prior to installing drainage composite, insulation and ballast.

    - Electronic Vector Testing (EVT) (Alternate to Flood Test):

      - EVT to be conducted upon the completion of the waterproofing assembly and all associated terminations prior.

      - Contact pre-approved test provider several weeks in advance to coordinate schedule.

      - In the event of a breach of the membrane, repair and retest the system in accordance with project specifications.

      - Report results of testing to the [Engineer][Architect][Consultant] and submit results with the warranty application to Henry Warranty department.

      - No other Work is to proceed without prior direction from the [Engineer][Architect][Consultant].

    - Flood Test:

      - Conduct flood test upon the completion of the waterproofing assembly and all associated terminations.

      - Provide temporary stops and plugs for the roof drains within the test area.

      - Flood test with minimum 50mm (2") of water for no less than 24 hours.

      - In the event of a breach of the membrane, repair, and retest the system for no less than 24 hours.

      - Remove temporary stops and plugs.

      - Report results of testing to the [Engineer][Architect][Consultant] and submit results with the warranty application to Henry Warranty department.

      - No other Work is to proceed without prior direction from the [Engineer][Architect][Consultant].

  - INSTALLATION - DRAINAGE BOARD

    - Install drainage board as indicated on the drawings and in accordance with manufacturers written instructions.

    - Overlap core flange with core flange of adjacent sheet a minimum of 25mm (1") and top layer of filter fabric a minimum of 63.5mm (2-1/2").

    - Cut core and fabric to fit tightly around penetrations.

    - Install drainage board up vertical flashing to the intended finish grade.

  - INSTALLATION - INSULATION

    - Install insulation as indicated on the drawings and in accordance with manufacturers written instructions.

    - Loose lay and tightly butt all insulation boards together with a maximum 10mm (3/8") wide gap between boards and 19mm (3/4") wide gap at projections and penetrations.

    - Stagger the end joints of the insulation.

    - Cut the insulation to fit closely to all cants, protrusions and obstructions.

    - When installing multiple layers of insulation, install the thickest layer first. Install the second layer with joints staggered with the layer below.

  - INSTALLATION - PAVERS

    - Installation of pavers to be completed after placement of curbs details as indicated on drawings.

    - Cut pavers to fit irregularly shaped areas and around protrusions as required.  Install according to manufacturer's instructions.

    - Accurately align and place concrete pavers on pedestals to maintain a level upper surface with adjacent units.

  - OBSERVATION AND VERIFICATION

    - Prior to overburden installation, final inspection of waterproofing assembly shall be carried out by the owner's representative, the contractor, or manufacturer as required by warranty. Contact Manufacturer for warranty requirements.

  - CLEANING AND PROTECTION

    - Progress Cleaning: Leave work area clean at the end of each work day, ensuring safe movement of passing pedestrians.

    - Waste Management: Co-ordinate recycling of waste materials and packaging at appropriate facility, diverting waste from landfill. Certified installer shall be responsible for ensuring waste management efforts are practiced.

    - Check area drains to ensure cleanliness and proper function, and remove debris, equipment and excess material from the site.

END OF SECTION 07 55 56.