SPEC NOTE: This Guide Specification includes materials and installation procedures for 2-ply SBS modified bitumen roofing membrane system over conventional insulated wood deck with air vapour barrier membrane in accordance with the requirements of the NBC for the building envelope. This specification is ideally suited for premium performance roofing systems typical of Hospitals, Schools and commercial projects.  This specification should be adapted to suit the requirements of individual projects. It is prepared in CSC three part format and should be included as a separate section under Division 7 - Thermal and Moisture Protection.

## PART 1:  GENERAL

1.1		General Requirements

.1	The General Conditions, the Supplementary Conditions, the Instructions to Bidders and Division One General Requirements shall be read in conjunction with and govern this section.

.2	The Specification shall be read as a whole by all parties concerned.  Each Section may contain more or less than the complete work of any trade.  The Contractor is solely responsible to make clear to the Subcontractors the extent of their work.

1.2		Description

.1	Supply labour, materials, plant, tools and equipment to complete the Work as shown on the Drawings and as specified herein including, but not limited to the following:

.1	Wood Roof Deck (by others),

.2	Primer & Self-Adhering Air Vapour Barrier Membrane,

.3	Roof Insulation & Tapered Insulation,

.4	Overlay Board Adhesive and Overlay Board,

.5	Adhesive Grade Base Sheet & Base Sheet Flashing in Cold Applied Membrane Adhesive,

.6	Adhesive Grade Cap Sheet & Cap Sheet Flashing in Cold Applied Membrane Adhesive,

.7	Metal Flashings and Accessories.

1.3		Related Work

.1	Rough Carpentry:		Section [XXXXX]

.2	Metal Flashing and Trim:	Section [XXXXX]

.3	Caulking:			Section [XXXXX]

.4	Roof Drains:			Section [XXXXX]

.5	Roof Vents:			Section [XXXXX]

.6	Skylights:			Section [XXXXX]

1.4		References

.1	CSA A123.4-[M1979]:	Bitumen for use in Construction of Built-Up Roof Coverings and Dampproofing and Waterproofing systems.

.2	CAN/CSA-A247-[M86]:	Insulating Fibreboard.

.3	CAN/ULC-S704-01:	Standard Specification for Thermal Insulation, Polyurethane and Polyisocyanurate Boards, Faced.

.4	CAN/ULC-S770-00: 	Standard Test Method for Determination of Long Term Thermal Resistance (LTTR) of Closed Cell Thermal Insulating Foams

.5	CAN/CGSB-37.9-[83]:	Primer, Asphalt, Unfilled for Asphalt Roofing, Dampproofing and                                                        Waterproofing.

.6	CAN/CGSB-37.29-[M89]:	Rubber-Asphalt Sealing Compound.

.7	CGSB 37-GP-56M-[80]:	Membrane, Modified, Bituminous, Prefabricated, and Reinforced for Roofing.

.8	CSA 0121-[M1978]:	Douglas Fir Plywood.

.9	CAN/CGSB-37.29-[M89]:	Rubber-Asphalt Sealing Compound.

1.5		Shop Drawings

.1	Submit shop drawings in accordance with Section [XXXXX] - [XXXXX].

.2	Provide complete layout for tapered insulation system.

1.6		Storage and Handling

.1	Store modifiedPLUS( membranes and accessories in a dry location, in original containers.

.2	If product is stored outside, it must be elevated on a platform and be protected with a waterproof cover which will shed water away from the material.

.3	Store all products in an upright position. Do not double stack unless product is on pallets and packaged as received from factory. Never stack more than two pallets high without racking.

.4	In cold weather store modifiedPLUS( membranes in heated area and take onto roof immediately prior to use.

.5	Store adhesives and primers between 15 degrees C (60 degrees F) and 26 degrees C (80 degrees F), or restore to temperature range before use.

.6	Store combustible materials away from heat and open flame.

.7	Do not store modifiedPLUS( membranes at ambient temperatures above 49 degrees C (120 degrees F).

1.7		Environmental Requirements

.1	modifiedPLUS( installations in temperatures below 4 degrees C (40 degrees F) can result in quality concerns.

.2	Verify adhesion regularly during cold temperature applications.

.3	Store rolls in heated location until needed on the roof.

.4	It is recommended that when temperatures remain below +4 degrees C (40 degrees F) operations should be suspended.

.5	Minimum working temperatures shall take into consideration a factor for wind chill. Application temperature shall be considered to be the temperature minus half of the wind speed as recommended by the Canadian Roofing Contractors Association (CRCA).

1.8		Protection

.1	Maintain fire watch for one hour following each day’s work when membranes are thermofused.

.2	Maintain one fully operational fire extinguisher per torch applicator within 10m of point of work.

.3	Protect membrane from site damage during application. Cover traffic areas with appropriate protection to serve as walkways so as to prevent any damage to the membrane.

1.9		Submittals

.1	Submit in writing, a document stating that the applicator of the primary membranes specified in this Section are recognized by the manufacturer as suitable for the execution of the Work.

.2	Prior to commencing the Work submit copies of manufacturers’ current ISO certification. Membrane, primers, sealants, adhesives and associated auxiliary materials shall be included.

.3	Prior to commencing the Work submit references clearly indicating that the membrane manufacturer has successfully completed projects on an annual basis of similar scope and nature for a minimum of fifteen years.  Submit references for a minimum of ten projects.

.4	Prior to commencing the Work submit manufacturers’ complete set of standard details for the air/vapour barrier and roofing membrane systems showing a continuous plane of air tightness throughout the building envelope.

1.10	Quality Assurance

.1      Perform Work in accordance with the printed requirements of the membrane manufacturer and this specification. Advise designer of any discrepancies prior to commencement of the Work.

.2      Maintain one copy of manufacturers’ literature on site throughout the execution of the Work.

.3      At the beginning of the Work and at all times during the execution of the Work, allow access to site by the roofing membrane manufacturers’ representative.

.4     At the request of the [architect] [engineer] [consultant], submit documentation certifying that the roofing membranes comply with CGSB 37-GP-56M.

.5     	Materials used in this Section, including air/vapour barrier membranes, primers, mastics, adhesives and sealants shall be fully compatible and shall be sourced from one manufacturer.

.6   	At the request of the [architect] [engineer] [consultant], submit copies of the membrane manufacturers’ current certification to ISO 9000.

1.11  	Alternates

.1 	Submit requests for alternates in accordance with Section [XXXXX] - [XXXXX].

.2	Alternate submission format to include:

.1	Submit evidence that alternate materials meet or exceed performance characteristics of Product requirements and documentation from an approved independent testing laboratory certifying that the performance of the roofing membrane system including air vapour barrier and transition sheets, exceed the requirements of the National Building Code.

.2	Submit copies of manufacturers’ current ISO certification.

.3	Submit references clearly indicating that the membrane manufacturer has successfully completed projects on a annual basis of similar scope and nature for a minimum of five years.

.4		Submit manufacturers’ complete set of standard details for the roofing membrane systems showing a continuous plane of air tightness throughout the building envelope.

.3	Submit requests for alternates to this specification a minimum of fifteen (15) working days prior to tender closing for evaluation. Include a list of 10 projects executed over the past five years.

.4	Acceptable alternates will be confirmed by addendum. Substitute materials not approved in writing prior to tender closing shall not be permitted for use on this project.

1.12	Warranty

.1	For the Work of this Section, the 12 months warranty period prescribed in subsection GC 32.1 of General Conditions “C” is extended to [24 months] [60 months].

.2	Contractor hereby warrants that the modified bituminous roofing and membrane flashings will stay in place and remain leakproof in [accordance with GC24], but for two years.

.3	Roofing membrane manufacturer hereby warrants that the membrane and membrane flashings will remain in a watertight condition and will not leak as a result of faulty materials for a period of [five years] [ten years]. Scope of warranty shall include material required to return the membrane to a watertight condition.

.4	Roofing membrane manufacturer hereby warrants that the membrane and membrane flashings will remain in a watertight condition and will not leak as a result of faulty materials or faulty workmanship for a period of ten [10] years. Scope of warranty shall include material and labour required to return the membrane to a watertight condition.

PART 2:  PRODUCTS

# 2.1	Components and membrane materials must be obtained as a single-source from the membrane manufacturer to ensure total system compatibility and integrity.

2.2	Roofing Membrane Manufacturer: 	Henry Canada,

15 Wallsend Drive

Scarborough, ON  M1E 3X6

Tel: 1-800-523-0268

Fax: 1-866-223-1285

Web Site: www.bakor.com

2.3		Primer

.1	Primer for all self-adhering air/vapour barrier membranes shall be Blueskin( Primer manufactured by Bakor and be fully compatible with membranes.

2.4		Air Vapour Barrier Membranes

.1	Air/vapour barrier membrane shall be VaporBloc( SA, Self-Adhered Vapour Barrier Membrane manufactured by Bakor, an SBS modified bitumen self-adhering membrane laminated to a blue cross laminated polyethylene film and having a minimum thickness of 0.8 mm (30 mils).

.2	Air/vapour barrier transition membrane shall be Blueskin( SA manufactured by Bakor, an SBS modified bitumen, self-adhering sheet membrane complete with a cross-laminated polyethylene film and having a minimum thickness of 1.0 mm (40 mils).

.3	Liquid Air/Vapour Barrier Mastic shall be 230-21 Insulation Adhesive manufactured by Bakor, a synthetic, trowel applied, rubber based adhesive compatible with insulating material, having an air permeability of 0.013 L/s.m² @ 100 Pa., water vapour permeance of 1.7 ng/Pa.m2.s. (0.03 perms) and long-term flexibility in compliance with CGSB 71-GP-24M.

2.5	Insulation & Overlay Board Adhesive

.1 	Cold adhesive for adhering polyisocyanurate insulation and insulation overlay board to membrane shall be Thermostik( 880-33, Non-Flammable Roof Insulation Adhesive manufactured by Bakor, a fast setting, moisture and fungus resistant synthetic rubber adhesive, minimum application temperature not to exceed –10 degrees C.

.2    	Cold adhesive for adhering polystyrene insulation and insulation overlay board to membrane shall be Thermostik( 840-10, Internal Setting Roofing Adhesive manufactured by Bakor, a fast setting, 100% solids, solvent free, 2 component elastomeric rubber adhesive, minimum application temperature not to exceed –10 degrees C.

2.6	Roof Insulation

.1	Closed cell polyisocyanurate foam manufactured using HCFC-free blowing agents and integrally laminated to heavy, non-asphaltic, fiber reinforced, felt facers; meeting the requirements of CAN/ULC-S704-01, Type 3, Class 2, CAN/ULC-S126, and CAN/ULC-S107.  Provide 2 layers of insulation each with a thickness of 38 mm (1.5 inches).

.2	Rigid insulation shall be extruded polystyrene meeting CAN/CGSB-51.20M, Type [   ], to the thickness as detailed.

2.7		Tapered Roof Insulation as fabricated with a minimum thickness of 25 mm (1/2”) and minimum slope of 1:50 (2%).

2.8		Overlay Board shall be Re-Cover Board p/s with removable poly film manufactured by Bakor. Minimum thickness shall be 3 mm (1/8").

2.9		Wood cants strips with sloped side to measure 140 mm in width.  Wood cant strips to be dry and true before use.  Cant strips of wood fibre shall be cut from 38 mm-thick wood fibre, sloped side to measure 140 mm in width.

2.10	Cold Adhesives for Roofing Membrane

.1	Cold adhesive for base and cap sheet membranes shall be MBA Gold™ Elastomeric Modified Bitumen Adhesive manufactured by Bakor.

.2	Cold adhesive for membrane base sheet & cap sheet flashings shall be MB Flashing 880-11 Flashing Adhesive manufactured by Bakor.

2.11	Membrane Base and Base Sheet Flashings

.1	Membrane base sheet shall be modifiedPLUS® G100s/s manufactured by Bakor, an SBS modified bitumen membrane having a minimum thickness of 2.0 mm (80 mils) and a glass reinforcement of 100 g/m2. Product shall be tested in accordance with CGSB 37-GP-56M Type 2 Class C Grade 1. The upper and lower surface shall be sanded.

.2	Base sheet flashing shall be modifiedPLUS® NP180s/s manufactured by Bakor, an SBS modified bitumen membrane having a minimum thickness of 2.2 mm (90 mils) and a non-woven polyester reinforcement of 180 g/m2.  Product shall be tested in accordance with CGSB 37-GP-56M Type 2 Class C Grade 2. The upper and lower surface shall be sanded.

2.12	Membrane Cap Sheets and Cap Sheet Flashings

.1	Cap sheet and cap sheet flashing shall be modifiedPLUS® NP180gM manufactured by Bakor, an SBS modified bitumen membrane having a minimum thickness of 3.5 mm (140 mils) and a non-woven polyester reinforcement of 180 g/m2. Product shall be tested in accordance with CGSB 37-GP-56M Type 1 Class A Grade 2. The upper surface shall have ceramic granules and the lower surface shall be sanded.

  - Membrane termination sealant in compliance with CAN/CGSB 37.29, shall be POLYBITUME( 570-05

Polymer Modified Sealing Compound manufactured by Bakor.

2.14	Plastic Roof Cement in accordance with of CAN/CGSB-37.5. shall be Bakor 810-21 Wet/Dry Plastic Roof Cement.

2.15	Pitch Pocket Mastic: Non-shrink 100% solids pourable mastic, Thermostik( 840-10 Internal Setting Roof Adhesive in conjunction with Blueskin( Primer Ultra manufactured by Bakor.

PART 3:  EXECUTION

3.1		Examination: Verify that all deck surfaces and substrates are acceptable for installation of the system.

3.2	Air/Vapour Barrier Membrane Applications

.1	Apply primer by roller or spray to all surfaces as required by manufacturer and allow to cure dry prior to applying membrane.

.2	Apply membrane complete and continuous to prepared and primed substrate in an overlapping shingle fashion and in accordance with manufacturer's written instructions.  Stagger all vertical joints. Unroll and align air/vapour barrier centered at edge or low point of roof.

.3	Align and position membrane, remove protective film and press firmly into place. Ensure minimum 50 mm overlap at all end and side laps. Promptly roll all laps and membrane with a counter top roller to affect the seal.

.4	Extend membrane to form a continuous watertight membrane across the roof deck, upturn at parapets and curbs, tie-into mechanical penetrations, stack vents and roof drains.

.5	Seal all punctures and penetrations with liquid air vapour barrier mastic prior to installing insulating materials.

.6	Extend air/vapour at parapets and under insulated raised curb details to tie-into cavity wall air/vapour barrier membrane system.

.7	Where insulation terminates at curb or parapet details, extend air/vapour barrier up vertical surfaces.

3.3		Insulation and Overlay Board

.1	Install insulation layers in moderate contact, stagger end joints to provide a smooth surface for application of overlay board and roofing membrane.

.2	Apply cold adhesive over air vapour barrier membrane at the rate as required by manufacturer and embed insulation in adhesive. Follow manufacturers’ recommendations.

.3	Install tapered insulation and overlay board in cold adhesive as per manufacturers recommendations

.4	Install only as much insulation and overlay board as can be covered by roofing membrane in same day.

.5	Install cant strips in adhesive as detailed.

3.4		.1	Cold adhered base sheets: Roll out base and cap sheets and allow to relax prior to applications.

.2	Apply cold adhesive over prepared substrates, align and lay base sheet into adhesive, adhere strictly to manufacturers’ written instructions.  Use weighted rollers to ensure full membrane contact to substrates and other membranes.

3.5		.1	Cold adhered base sheet flashings:  Apply cold adhesive flashing cement over prepared substrates, align base sheet flashings and lay into adhesive, adhere strictly to manufacturers’ instructions.

.2	Begin application 100 mm (4") from toe of cant and extend vertically as indicated. Mechanically fasten base sheet flashing using 25 mm (1") round top nails on 200 mm (8") centres.

3.6		.1	Cold adhered cap sheets: Apply cold adhesive over base sheet membrane, align and lay cap sheet into adhesive, adhere strictly to manufacturers’ written instructions.  Use weighted rollers to ensure full membrane contact to substrates and other membranes.

3.7		.1	Cold-adhered cap sheet flashings: Apply cold adhesive flashing cement over prepared substrates, align cap sheet flashings and lay into adhesive, adhere strictly to manufacturers’ instructions.

.2	Begin application 150 mm (6") from toe of cant and extend vertically as indicated. Refer to manufacturers’ standard details.

3.8		Membrane Flashing At Drains

.1	The area around the drains and drain flange shall be primed and coated cold adhesive.

.2	Flashing sheet shall be placed over the coated drain flange extending a minimum 450 mm (18") around the flange.

.3	A second coat of adhesive shall be applied over the flashing sheet ready for cap sheet flashing membrane.

.4		Apply clamping ring exerting sufficient pressure to affect a seal between clamping ring and membrane.

3.9		Membrane Flashing At Protrusions

.1	At mechanical vents, protrusions and pipe flashings, provide flashing membrane set in cold adhesive. Overcoat and seal with termination sealant.  Install clamps as required.